**AMENDMENT NO**. 2 (**January 2024)**

**TO**

**IS 16444 (PART 2): 2017 a.c. STATIC TRANSFORMER**

**OPERATED WATTHOUR AND VAR-HOUR SMART**

**METERS, CLASS 0.2S, 0.5S AND 1.0S**

**PART 2 SPECIFICATION TRANSFORMER OPERATED**

**SMART METERS**

(*Foreword, para* 6*, line* 2*) ⸺* Substitute ‘IS 13779:2020’ *for* ‘IS 13779: 1999’.

(*Foreword, para* 6*, line* 2*) ⸺* Substitute ‘IS 14697:2021’ *for* ‘IS 14697:1999’.

(*Foreword, para* 6*, line* 2*) ⸺* Substitute ‘IS 15884:2023’ *for* ‘IS 15884:2011’.

*(Page* 1*, clause* 2*) ⸺* Substitute ‘IS 14697:2021’ *for* ‘IS 14697 : 1999’.

*(Page* 1*, clause* 2*) ⸺* Substitute ‘IS 15959 (Part 1) :2024’ *for* ‘IS 15959 (Part 1) : 2011’.

*(Page* 4*, clause* **6.6***, line* 3*)⸺* Substitute ‘5 years’ *for* ‘10 years’.

(*Page* 5, *clause* **6.8.2**) *⸺* Substitute “*Bureau of Indian Standards Act,* 2016” for “*Bureau of Indian Standards Act,* 1986”

*(Page* 7, *Table* 1*, Sl No.* 4*) ⸺* Delete “(as per Clause 7.2.6 of IEC 62052-11)”