***भारतीय मानक***

***Indian Standard***

**IS XXXX : XXXX**

***अतिसूक्ष्म ईंधन की राख — विशिष्ट***

# Ultrafine Fly Ash — Specification

ICS 91.100.10

© BIS 2024

भारतीय मानक ब्यूरो

BUREAU OF INDIAN STANDARDS

मानक भवन, 9 बहादुर शाह ज़फर मार्ग, नई दिल्ली - 110002

MANAK BHAVAN, 9 BAHADUR SHAH ZAFAR MARG

NEW DELHI - 110002

[www.bis.gov.in](http://www.bis.org.in) [www.standardsbis.in](http://www.standardsbis.in)

**September 2024 Price Group X**

Cement and Concrete Sectional Committee, CED 02

FOREWORD

This Indian Standard was adopted by the Bureau of Indian Standards, after the draft finalized by the Cement and Concrete Sectional Committee had been approved by the Civil Engineering Division Council.

Ultrafine fly ash (UFFA) is a very fine pozzolanic material (pulverized fuel ash) consisting of ultrafine, glassy, spherical particles (of average size 3 micron to 5 micron) produced through multistage classification of selected fly ash conforming to IS 3812 (Part 1): 2013 ‘Pulverized fuel ash — Part 1 For use as pozzolana in cement, cement mortar and concrete (*third revision*)’. Due to the fine size of ultrafine fly ash particles, it has more reactive surface area, which helps to achieve higher early strength and lower permeability to the concrete mix due to mechanical packing effect of well graded fine particles.

The use of finer pozzolanic materials in production of concrete especially of higher grades (M 60 and above) is progressively increasing in India. Keeping this trend in view and to meet the requirement of the construction industry, the standard on silica fume, IS 15388 : 2003 ‘Silica Fume — Specification’ was formulated earlier. The standard for another ultrafine material, metakaolin was also formulated as IS 16354 : 2015 ‘Metakaolin for Use in Cement, Cement Mortar and Concrete — Specification’. The advancements made during the last decade in grinding and classification technologies, aided in yet another standard on ultrafine slag namely IS 16715 : 2018 ‘Ultrafine Ground Granulated Blast Furnace Slag — Specification’. This new standard is also in line with the above.

The ultrafine slag as well as ultrafine fly ash, both are indigenously produced in India while majority of silica fume is imported. The performance of these ultrafine materials when used as part replacement of cement in concrete or mortars in the range of 5 percent to 10 percent is comparable and found to enhance the properties and durability of concrete especially its permeability.

This standard contains clauses **10.2**, **10.2.1,** **10.2.2**, **12** and **13** which call for agreement between the purchaser and the supplier.

This standard contributes to the following Sustainable Development Goal: Goal 9 ‘Industry, Innovation and Infrastructure’ towards building resilient infrastructure, promote inclusive and sustainable industrialization and foster innovation’, Goal 11 ‘Sustainable Cities and Communities’ and Goal 13 ‘Climate Action’.

The composition of the Committee responsible for the formulation of this standard is given in Annex D.

For the purpose of deciding whether a particular requirement of this standard is complied with, the final value, observed or calculated, expressing the result of a test, shall be rounded off in accordance with IS 2 : 2022 ‘Rules for rounding off numerical values (second revision). The number of significant places retained in the rounded off value should be the same as that of the specified value in this standard.

*Indian Standard*

ULTRAFINE FLY ASH — SPECIFICATION

**1 SCOPE**

This standard covers the chemical and physical requirements of ultrafine fly ash for use in concrete, mortar and other systems containing hydraulic cement.

**2 REFERENCES**

The Indian standards listed in Annex A contain provisions which through references in this text, constitute provisions of this standard. At the time of publication, the editions indicated were valid. All standards are subject to revision and parties to agreements based on this standard are encouraged to investigate the possibility of applying the most recent editions of the standards given in Annex A.

**3 TERMINOLOGY**

For the purpose of this standard, the definitions given in IS 4305, for pozzolanic materials and fly ash and the following shall apply.

**3.1 Ultrafine Fly Ash**

A very fine pozzolanic material mainly consisting of pulverized fuel ash (fly ash) extracted from flue gases resulting from combustion of ground or pulverized coal and collected by cyclone separator or electrostatic precipitator [*see* IS 3812 (Part 1)] and further processed and air classified to required fineness as per this standard.

**3.2 Raw Material**

Fly ash used in the manufacture of ultrafine fly ash shall conform to IS 3812 (Part 1).

**4 MANUFACTURE**

**4.1** The ultrafine fly ash shall be produced by multi-stage classification of fly ash conforming to IS 3812 (Part 1), either by cyclone separators or other suitable methods so that the resulting product conforms to the specifications laid down in this standard. The residue (coarser part of fly ash) shall be suitably disposed of by the producer either for the manufacture of fly ash bricks or any other fly ash based (cement matrix) products as per published Indian Standards or in any other standard form to avoid environmental pollution.

**4.2** Ultrafine fly ash shall not be prepared/manufactured by grinding pulverized fuel ash, but only through classification of the fly ash obtained from the cyclone separator.

**5 CHEMICAL REQUIREMENTS**

Ultrafine fly ash shall conform to the chemical requirements given in Table 1.

**Table 1 Chemical Requirements**

(*Clause* 5 and 8.2.2)

|  |  |  |  |
| --- | --- | --- | --- |
| **Sl No** | **Characteristic** | **Requirement** | **Test Method** |
| (1) | (2) | (3) | (4) |
|  | Silicon dioxide (SiO2) + Aluminium oxide (Al2O3) + Iron oxide (Fe2O3), in percent by mass, *Min* | 70 | IS 1727 |
|  | SiO2, in percent by mass, *Min* | 35 | IS 1727 |
|  | Magnesium oxide, in percent by mass, *Max* | 5 | IS 1727 |
|  | Total sulphur as sulphur anhydride (SO3), *Max* | 3 | IS 1727 |
|  | Total chlorides, in percent by mass, *Max* | 0.05 | IS 4032 |
|  | Loss on ignition, in percent by mass, *Max* | 4 | IS 1727 |
|  | Moisture content, in percent by mass, *Max* | 2 | Annex B |
|  | Total alkalies equivalent to sodium oxide (Na2O), in percent by mass, *Max* | 1.5 | Annex C |

**6 PHYSICAL REQUIREMENTS**

Ultrafine fly ash shall conform to the physical requirements given in Table 2.

**Table 2 Physical Requirements**

(*Clause* 6 and 8.2.2)

|  |  |  |  |
| --- | --- | --- | --- |
| **Sl No** | **Characteristic** | **Requirement** | **Test Method**  **Ref to** |
| (1) | (2) | (3) | (4) |
| i) | Specific surface in m2/kg (by BET method), *Min* | 1 500 | IS 11578 |
| ii) | Oversize percent retained on 45 micron IS sieve, *Max* (*see* Note 1) | 5 | IS 1727 |
| iii) | Oversize percent retained on 45 micron IS sieve, variation from average percent, *Max* (*see* Note 1) | 5 | IS 1727 |
| iv) | Compressive strength at 7 days as percent of control sample, *Min* (*see* Note 2) | 95 | IS 1727 |
| v) | Compressive strength at 28 days as percent of control sample, *Min* (*see* Note 2) | 110 | IS 1727 |
| vi) | Lime reactivity measured in MPa, *Min* (*see Note* 3*)* | 7 | IS 1727 |
| vii) | Soundness, by autoclave test method in percent, *Max* | 0.8 | IS 4031 (Part 3) |
|  | NOTES | | |
| **1** The average shall consist of the ten preceding tests or all of the preceding tests if the number is less than ten. | | |
| **2** The determination of compressive strength of Ultrafine fly ash cement mortar shall be done as per **10** of IS 1727 with the following modifications: | | |
| 1. The dry materials for the standard test mortar shall be UFFA : cement : standard sand in proportion 0.1 : 0.9 : 3.0 by weight, blended intimately. | | |
| 1. The following quantities of materials are suggested for preparation of the mortar:   50 g: UFFA  450 g : cement  1 500 g : standard sand | | |
| **3** Optional method of determination of reactive silica using X-ray diffraction (XRD) may also be employed. For more details, National Council for Cement and Building Materials Ballabgarh’s established method as in their monograph (MS-14-2010) may be referred. | | |

**7 PARTICLE SIZE**

**7.1** Ultrafine fly ash shall have the following particle size distribution (PSD) as determined by using laser diffraction PSD analyser.

𝑑50 < 7 µm

𝑑90 < 15 µm

where 𝑑n indicates that n percent of the particles on a mass basis are below a given size (diameter).

**8 SAMPLING AND CRITERIA FOR CONFORMITY**

**8.1 Sampling**

**8.1.1** The method and procedure of sampling of ultrafine fly ash shall be the same as the method given for fly ash in IS 6491. All samples whether grab or composite shall have a mass of at least 1 kg. Two grab/composite samples shall be taken from the first 100 t of ultrafine fly ash. For each subsequent 100 t from a lot of ultrafine fly ash, one sample shall be taken. However, not less than two samples shall be taken in any sampling process.

**8.1.2** The sample or samples for testing may be taken by the purchaser or his representative or by any person appointed to supervise the work for which the ultrafine fly ash is required or by the latter’s representative.

**8.2 Criteria for Conformity**

**8.2.1** The samples of ultrafine fly ash drawn as per **8.1** and then prepared as per **9** and shall be tested for chemical and physical properties as per **5** and **6** respectively.

**8.2.2** Samples representing each 100 t of ultrafine fly ash shall be tested for moisture content, loss on ignition, and oversize of material in accordance with Annex B and Table 1 and Table 2 respectively.

**8.2.3** Testing for all other physical and chemical characteristics (except those mentioned in **8.2.2**) shall be carried out on complete samples representing not more than 400 t material each. The composite sample shall be prepared by combining portions equally from each of the 100 t samples.

**8.2.4** The lot shall be considered passing if the sample meets all the requirements. The ultrafine fly ash may be rejected if it fails to meet any of the requirements of this standard. In case of dissatisfaction with the result of tests, the producer or supplier may request re-testing of the failed consignment on terms and conditions as mutually agreed between the supplier and the purchaser.

**9 SAMPLE PREPARATION**

**9.1** The grab or composite sample drawn in accordance with **8.1** shall be mixed thoroughly. The mixing may be done in a clean and dry laboratory mixer. The amount of ultrafine fly ash shall be 40 to 50 percent of the volume capacity of the mixer. The mixing time shall be 5 min ± 1 min. It shall be ensured that no material is thrown out from the mixer during mixing. A polyethene sheet or any other suitable arrangements shall be made to keep the material in the mixer during mixing.

**9.2** A sampling device of appropriative size shall be used to take material from the thoroughly mixed sample for purpose of making the test specimen. At least six random sub-samples shall be taken to prepare the test specimen.

**10 PACKING**

**10.1** The ultrafine fly ash shall be packed in any of the following bags:

1. PP woven laminated block bottom valve sacks conforming to IS 16709,
2. Multi-wall paper sacks conforming to IS 11761,
3. HDPE/PP woven sacks with liner conforming to IS 11652,
4. Laminated jute sacking bag or
5. Any other approved composite bag.

Bags shall be in good condition at the time of packing and inspection.

**10.2** The net quantity of ultrafine fly ash per bag shall be 50 kg subject to tolerance as agreed to between the supplier and the purchaser.

**10.2.1** The net quantity of ultrafine fly ash per bag may also be 25 kg, 10 kg, 5 kg, 2 kg or 1 kg and packed in suitable bags as agreed to between the purchaser and the manufacturer.

**10.2.2** Supplies of ultrafine fly ash may be made in drums or bulk by arrangement between the purchaser and the manufacturer/supplier.

**11 STORAGE AND INSPECTION**

**11.1** The ultrafine fly ash shall be stored in such a manner so as to permit easy access for proper inspection and identification of each consignment.

**11.2** Adequate facilities shall be provided to the purchaser for careful sampling and inspection, either at the source or at the site of the work, as may be specified by the purchaser. IS 4082 may be referred for guidance in general. Ultrafine fly ash shall be stored similar to cement/ fly ash/silica-fume/metakaolin, depending upon the storage requirement in bags/bulk form.

**12 DELIVERY**

The supply of ultrafine fly ash shall be made in suitable quantities mutually agreed between the purchaser and the supplier. Where so required by the purchaser, the material shall be supplied in bags. The ultrafine fly ash may also be delivered in drum/bulk as agreed upon between the supplier and the purchaser.

**13 MANUFACTURER’S CERTIFICATE**

The supplier/manufacturer shall satisfy himself that the ultrafine fly ash conforms to the requirements of this standard and, if requested by the purchaser, shall furnish a certificate to this effect, indicating the results of the tests carried out on the samples of the ultrafine fly ash.

**14 MARKING**

**14.1** Each bag/consignment of ultrafine fly ash shall be clearly and permanently marked with the following information.

1. Manufacturer’s name and his registered trade-mark;
2. The words ‘ULTRAFINE FLY ASH’;
3. Net quantity, in kg;
4. The words ‘USE NO HOOKS’ on the bags;
5. Batch/control unit number in terms of week, month and year of packing; and
6. Address of the manufacturer.

**14.2 BIS Certification Marking**

**14.2** The ultrafine fly ash may also be marked with the Standard Mark.

**14.2.1** The product (ultrafine flyash) conforming to the requirements of this standard may be certified as per the conformity assessment schemes under the provisions of the *Bureau of Indian Standards Act*, 2016 and the Rules and Regulations framed thereunder, and the products may be marked with the Standard Mark.

**15 HEALTH AND SAFETY**

**15.1** Ultrafine fly ash is very fine powdery material, and when handled, some dust may become suspended in the air in the working area. It is therefore advisable to take all necessary precautions while handling and using the material.

**15.2** Every attempt should be made to keep airborne ultrafine fly ash particles to a minimum to avoid irritation of eyes, nose and throat. Should this not be practicable, then the use of goggles, dust masks and suitable respiratory protective devices shall be made (*see* IS 14352 and IS 9473).

**15.3** Similar information shall be provided in the shipping invoices accompanying the shipment of bulk ultrafine fly ash.

**15.4** The ultrafine fly ash consignment shall be in good condition at the time of inspection.

**Annex A**

(*Clause* 2)

**LIST OF REFERRED INDIAN STANDARDS**

|  |  |
| --- | --- |
| *IS No.* | *Title* |
| IS 1727 : 1967 | Methods of test for pozzolanic materials (*first revision*) |
| IS 3812 (Part 1) : 2013 | Pulverized fuel ash — Specification Part 1 For use as pozzolana in cement, cement mortar and concrete (*third revision*) |
| IS 4031 (Part 3) : 1988 | Methods of physical tests for hydraulic cement Part 3 Determination of soundness (*first revision*) |
| IS 4032 : 1985 | Methods of chemical analysis of hydraulic cement (*first revision*) |
| IS 4082 : 1996 | Stacking and storage of construction materials and components at site — Recommendations (*second revision*) |
| IS 4305 : 1967 | Glossary of terms relating to pozzolana |
| IS 6491 : 1972 | Methods of sampling fly ash |
| IS 9473 : 2002 /  ISO 3864 (Part 1) : 2002 | Respiratory protective devices — Filtering half masks to protect against particles — Specification (*first revision*) |
| IS 11578 : 1986 | Method for determination of specific surface area of powders and porous particles using low temperature gas adsorption techniques |
| IS 11652 : 2017 | Textiles — High density polyethylene (HDPE)/polypropylene (PP) woven sacks for packaging of 50 kg cement — Specification (*third revision*) |
| IS 11761 : 2024 | Multi-wall paper sacks for cement ― Specification (*second revision*) |
| IS 12174 : 1987 | Specification for jute synthetic union bags for packing cement |
| IS 14352 : 1996 | Miner’s safety goggles — Specification |
| IS 16709 : 2017 | Textiles — Polypropylene (PP) woven, laminated, block bottom valve sacks for packaging of 50 kg cement — Specification |

**Annex B**

(*Table* 1 and *Clause* 8.2.2)

**METHOD OF TEST FOR DETERMINATION OF**

**MOISTURE CONTENT**

**B-1 PROCEDURE**

Dry the clean empty petri dish (approximately 100 mm diameter) at a temperature of 105 °C to 110 °C and weigh it, after cooling in a desiccator. Spread uniformly, not less than 2.5 g ± 0.5 g, ultrafine fly ash sample as received basis, in this petri dish and weigh. Heat this uncovered petri dish with ultrafine fly ash in a drying oven at a temperature of 105 °C to 110 °C for 1 h. Cool the petri dish with heated ultrafine fly ash in a desiccator and weigh. Repeat the process until there is no further loss in mass.

**B-2 CALCULATION AND REPORTING OF RESULTS**

Calculate the percentage of moisture to the nearest 0.1 percent as follows:

Moisture content (in percent)

where,

*x* = loss in mass of the ultrafine fly ash during drying in gram, and

*y* = mass of ultrafine fly ash, as received basis in gram.

**Annex C**

(*Table* 1)

**METHOD FOR DETERMINATION OF AVAILABLE ALKALIES**

**C-1 PROCEDURE**

**C-1.1** Weigh 5.0 g of the sample and 2.0 g of hydrated lime on a piece of weighing

paper, carefully mix using a metal spatula and transfer to a small plastic vial of approximately 25 ml capacity. Add 10.0 ml of water to this mixture, seal the vial by securing the cap or lid to the vial with tape (*see* Note), blend by shaking until the mixture is uniform, and store at 38 °C ± 2 °C.

NOTE — To ensure that moisture loss from the paste does not occur, place the sealed vial in a sealable container (such as a small sample or mason jar), add sufficient water to cover the bottom of the container, and seal.

**C-2.2** Open the vial at the age of 28 days and transfer the contents to a 250 ml casserole. Break up and grind the cake with a pestle, adding a small amount of water, if necessary, so that a uniform slurry containing no lumps is obtained (*see* Note). Add sufficient water to make the total volume to 200 ml. Let it stand for 1 h at room temperature with frequent stirring. Filter through a medium-textured filter paper onto a 500 ml volumetric flask. Wash thoroughly with hot water (eight to ten times).

NOTE — At times it may be necessary to break the vial and peel off the plastic from the solid cake. In such cases, care should be exercised to avoid the loss of material and to remove all solid material from the fragments of the vial. If the cake is too hard to break up and grind in the casserole, a mortar should be used.

**C-1.3** Neutralize the filtrate with dilute HCl (1+3), using 1 to 2 drops of phenolphthalein solution as an indicator. Add exactly 5 ml of dilute HCl (1+3) in excess. Cool the solution to room temperature and fill the flask to the mark with distilled water. Determine the amount of sodium and potassium oxides in the solution using the flame photometric procedure, described in IS 4032, except that the standard solutions shall be made up, to contain 8 ml of calcium chloride (CaCl2) stock solution per litre of standard solution, and the solution as prepared shall be used in place of the solution of cement.

NOTE — The standard solutions made up with 8 ml of calcium chloride (CaCl2) stock solution containing the equivalent of 504 ppm of CaO. Tests have shown that this amount closely approximates the amount of calcium dissolved in the test solution.

**C-2 CALCULATION AND REPORTING OF RESULTS**

Calculate the results as percent by mass of the original sample material. Report as equivalent percentage of sodium oxide (Na2O), calculated as follows:

Equivalent Na2O, percent = Na2O, percent + 0.658 × K2O, percent

**ANNEX D**

(*Foreword*)

**COMMITTEE COMPOSITION**

Cement and Concrete Sectional Committee, CED 02

|  |  |
| --- | --- |
| *Organization* | *Representative(s)* |
| In Personal Capacity (*Grace Villa, Kadamankulam PO, Thiruvalla - 689583*) | Shri Jose Kurian (***Chairperson***) |
| ACC Ltd, Mumbai | Shri Manoj Jindal  Dr Manish V. Karandikar (*Alternate*) |
| Ambuja Cements Limited, Ahmedabad | Shri Umesh P. Soni Shri  Shri Sukuru Ramarao (*Alternate*) |
| Cement Manufacturers Association, Noida | Dr V. Ramachandra  Shri Prakhar Srivastava (*Alternate* I)  Shri Shubho Chakravarty (*Alternate* II) |
| Central Public Works Department, New Delhi | Shri Dinesh Kumar Ujjainia |
| Central Soil and Materials Research Station, New Delhi | Shri U. S. Vidyarthi  Shri B. K. Munzni (*Alternate*) |
| CSIR-Central Building Research Institute, Roorkee | Dr S. K. Singh  Shri Subhash Chand Bose Gurram (*Alternate*) |
| CSIR-Structural Engineering Research Centre, Chennai | Dr K. Ramanjaneyulu  Dr P. Srinivasan (*Alternate*) |
| Engineers India Limited, New Delhi | Dr Sudip Paul  Shri Vikram K. Gupta (*Alternate* I)  Shri Rakesh Kumar (*Alternate* II)  Shri Ravi Gera (*Alternate* III) |
| Hindustan Construction Company Ltd, Mumbai | Shri Khatar Batcha  Shri Praveen H Shettigar (*Alternate*) |
| Hindustan Consulting Associates Pvt Ltd, New Delhi | Shri Satish Kumar Sharma |
| Housing and Urban Development Corporation Limited, New Delhi | Shri Deepak Bansal |
| Indian Association of Structural Engineers, New Delhi | Prof Mahesh Tandon  Shri Manoj K. Mittal (*Alternate*) |
| Indian Concrete Institute, Chennai | Dr M. R. Kalgal  Prof S. Saraswati (*Alternate*) |
| Indian Institute of Technology Delhi, New Delhi | Dr Shashank Bishnoi  Dr Dipti Ranjan Sahoo (*Alternate*) |
| Indian Institute of Technology Madras, Chennai | Prof Manu Santhanam |
| Indian Institute of Technology Roorkee, Roorkee | Dr Umesh Kumar Sharma  Dr Pramod Kumar Gupta (*Alternate* I)  Prof Anjaneya Dixit (*Alternate* II) |
| L&T Construction, Chennai | Dr K. Sivakumar |
| Military Engineering Services, New Delhi | Maj Gen Rajesh Singh  Shri Suneel Kumar Arora (*Alternate*) |
| National Council for Cement and Building Materials, Ballabgarh | Shri P. N. Ojha  Dr S. K. Chaturvedi (*Alternate* I)  Shri Brijesh Singh (*Alternate* II) |
| National Test House, Kolkata | Shri D. V. S. Prasad  Dr Somit Neogi (*Alternate*) |
| Nuvoco Vistas Corporation Ltd, Mumbai | Shri Pranav Desai  Shri Jai Singh (*Alternate*) |
| The India Cements Limited, Chennai | Shri S. Dakshinamoorthy  Shri P. Muni Reddy (*Alternate*) |
| The Indian Hume Pipe Company Limited, Mumbai | Shri S. J. Shah  Shri U.S. Mahajan (*Alternate*) |
| The Institution of Engineers (India),  Kolkata | Dr H. C. Visvesvaraya  Shri S. H. Jain (*Alternate*) |
| The Ramco Cements Limited, Chennai | Shri Balaji K. Moorthy  Shri Anil Kumar Pillai (*Alternate*) |
| Ultra Tech Cement Ltd, Mumbai | Shri Raju Goyal  Shri K. Jayasankar (*Alternate*) |
| Voluntary Organization in Interest of Consumer Education, New Delhi | Shri M. A. U. Khan  Dr Rajiv Jha (*Alternate*) |
| In Personal Capacity (*House No. 131 Sector 11D Faridabad 121006*) | Shri V. V. Arora |
| In Personal Capacity [*B-806, Oberoi Exquisite, Oberoi Garden City, Goregaon (East), Mumbai – 400063*] | Shri A. K. Jain |
| In Personal Capacity (*36,Old Sneh Nagar, Wardha Road, Nagpur*) | Shri L. K. Jain |
| BIS Directorate General | Shri Dwaipayan Bhadra, Scientist ‘E’/Director and Head (Civil Engineering) [Representing Director General (Ex-officio) |

*Member Secretary*

Shri Jitendra Kumar Chaudhary

Scientist ‘B’/Assistant Director

(Civil Engineering), BIS

Cement, Pozzolana and Cement Additives SubCommittee, CED 2:1

|  |  |
| --- | --- |
| *Organization* | *Representative(s)* |
| In Personal Capacity,(*Type IV/17,*  *President's Estate, New Delhi -* 110004) | Shri K. H. Babu (***Convenor***) |
| 20 Microns Limited Mumbai | Shri Atil Parikh  Shri Sunil Mistry (*Alternate*) |
| ACC Limited, Mumbai | Shri Pralhad Mujumdar  Shri Anil Kulkarni (*Alternate*) |
| AIMIL Limited, New Delhi | Shri Yogin Chandorkar  Shri Madan Kumar Sharma (*Alternate*) |
| Ambuja Cement, Mumbai | Shri Sukuru Ramarao  Shri Umesh P. Soni (*Alternate*) |
| Building Material and Technology  Promotion Council, New Delhi | Shri C. N. Jha  Shri Sharad Gupta  (*Alternate*) |
| CSIR-Central Building Research Institute, Roorkee | Dr S. K. Singh  Shri Micky M. Delbehra (*Alternate*) |
| CSIR-Central Road Research Institute, New Delhi | Shri J. B. Sengupta  Shri Satish Pandey (*Alternate*) |
| Cement Corporation of India Limited, New Delhi | Shrimati Saraswathi Devi  Ms Bibha Kumari (*Alternate*) |
| Cement Manufacturers Association, New Delhi | Shri Ashwani Pahuja  Dr. S.k Saxena (*Alternate* I)  Shri Shubho Chakravarty (*Alternate* II) |
| Central Electricity Authority, New Delhi | Shri Y. K. Sharma  Shri Mohan Kumar (*Alternate*) |
| Central Pollution Control Board, New Delhi | Shri Divya Sinha  Shri P. K. Gupta (*Alternate*) |
| Central Public Works Department, New Delhi | Shri Dinesh Kumar Ujjainia |
| Central Soil and Materials Research Station, New Delhi | Shri N.V. Mahure  Shri Raj Kumar (*Alternate*) |
| Dalmia Cement (Bharat) Limited, New Delhi | Shri Jai Prakash Vrati  Shri Ashok Bose (*Alternate*) |
| Elkem South Asia Private Limited, Navi Mumbai | Shri Brajesh Malviya  Shri Surendra Sharma (*Alternate*) |
| Gujarat Engineering Research Institute, Narmada, Water Resources, Water Supply and Kalpsar Department | Shri A. M. Barve  Shri R. J. Soni (*Alternate*) |
| Hindustan Construction Company Limited, Mumbai | Shri Khatar Batcha |
| Hindustan Consulting Associates Pvt Ltd, New Delhi | Shri Satish Kumar Sharma |
| Indian Concrete Institute, Chennai | Dr Anant M. Pandey  Secretary General (*Alternate*) |
| Indian Institute of Technology Delhi, New Delhi | Dr Shashank Bishnoi  Dr Supratic Gupta (*Alternate*) |
| Institute for Solid Waste Research and Ecological Balance Inswared, Visakhapatnam | Dr N. Bhanumathidas  Shri N. Kalidas (*Alternate*) |
| JSW Cement Limited, Mumbai | Ms. Lopamudra Sengupta  Dr Jagabandhu Kole (*Alternate*) |
| Maharashtra Engineering Research Institute, Nashik | Scientific Research Officer  Assistant Research Officer (*Alternate*) |
| Military Engineer Services, New Delhi | Shri Pradeep Aggarwal  Shri M.K.Deepak (*Alternate*) |
| Ministry of Commerce and Industry, Department of Commerce, New Delhi | Shri Mohd Zakaria Khan Yusufzai  Shri Sunil Agarwal (*Alternate*) |
| Ministry of Science and Technology, Department of Science & Technology, New Delhi | Shri S. S. Kohli |
| National Council for Cement and Building Materials, Faridabad | Dr S. K. Chaturvedi  Shri P. N. Ojha (*Alternate* I)  Shri Brijesh Singh (*Alternate* II)  Shri Suresh Vanguri (*Alternate* III) |
| National Hydroelectric Power Corporation, Faridabad | Shri R. M. A. Khan |
| National Test House, Kolkata | Shri D. V. S. Prasad  Dr Moitrayee Devi (*Alternate*) |
| Netra NTPC Limited, Noida | Deputy General Manager  Shri Massom Ali (*Alternate*) |
| Nuvoco Vistas Company Limited, Mumbai | Shri Pranav Desai  Shri Ravindra Khamparia (*Alternate*) |
| Raw Materials and Coke Making, Tata Steel Limited, Jamshedpur | Shri A. S. Reddy  Shri Vipul Mohan Koranne (*Alternate*) |
| Ready Mixed Concrete Manufactures Association, Mumbai | Shri A. K. Jain |
| Tamil Nadu Minerals Limited, Chennai | Shri V. Santhanam  Shri E. Ganesan (*Alternate*) |
| The Ramco Cements Limited, Chennai | Shri Balaji K. Moorthy  Shri Anil Kumar Pillai (*Alternate*) |
| UltraTech Cement Limited, Mumbai | Dr Awadhesh K. Singh  Shri Ashok K. Tiwari (*Alternate*) |
| In Personal Capacity (*P9-3D, SRS Residency, Sector - 88, Faridabad - 121002, Haryana*) | Shri S. Harsh |

Panel for Revision of Cement Standards, CED 2:1/P1

|  |  |
| --- | --- |
| *Organization* | *Representative(s)* |
| In Personal Capacity,(*Type IV/17,*  *President's Estate, New Delhi -* 110004) | Shri K. H. Babu (***Convenor***) |
| AIMIL Limited, New Delhi | Shri Heman Manchanda  Shri Aman Khullar (*Alternate*) |
| CSIR-Central Building Research Institute, Roorkee | Dr S. K. Singh  Dr Neeraj Jain (*Alternate* I)  Shri Rajesh Kumar (*Alternate* II) |
| CSIR–Structural Engineering Research Centre, Chennai | Dr. P. S. Ambily  Dr. K. Senthil (*Alternate* I)  Shri Narthu Manoj (*Alternate* II) |
| Cement Manufacturers Association, New Delhi | Dr Awadesh. K. Singh  Shri Satyendra Kumar (*Alternate* I)  Shri Shubho Chakravarty (*Alternate* II) |
| Central Public Works Department, New Delhi | Shri Dinesh Kumar Ujjainia |
| Hindustan Construction Company Limited, Mumbai | Shri Praveen H. Shettigar  Shri Vivek Kale (*Alternate*) |
| Indian Institute of Technology Delhi, New Delhi | Dr Shashank Bishnoi |
| Military Engineer Services,  New Delhi | Shri Manoj Bapna  Shri Niraj Kumar (*Alternate*) |
| National Council for Cement and Building Materials, Faridabad | Dr S. K. Chaturvedi  Shri P. N. Ojha (*Alternate* I)  Dr Pinky Pandey (*Alternate* II) |
| Ready Mixed Concrete Manufactures Association, Mumbai | Shri A. K. Jain  Shri Devendra Kumar Pandey (*Alternate*) |
| In Personal Capacity (*House No. 131 Sector 11D Faridabad 121006*) | Shri V. V. Arora |
| In Personal Capacity (*P9-3D, SRS Residency, Sector - 88, Faridabad - 121002, Haryana*) | Shri S. Harsh |

\*\*\*\*\*\*\*\*\*