भारतीय मानक

कागज और लुगदी आधारित पैकेजिंग सामग्री के परीक्षण के तरीके

भाग 1

लचीला प्रतिरोध और विक्षेपण, जलरोधी, जल प्रवेश, तेल प्रतिरोध, घर्षण हानि, अवरुद्ध प्रतिरोध, संपीड़न प्रतिरोध, कठोरता, कठोरता और कोमलता; और वायु प्रस्‍तार

(दूसरा पुनरीक्षण)

Indian Standard

Methods of Test for Paper and Pulp Based Packaging Materials

Part 1

Flexural resistance and deflection, Waterproofness, Water penetration, Grease resistance, Abrasion loss, Blocking resistance, Compression resistance, Rigidity, stiffness and softness; and Air permeance

(Second Revision)

ICS 85.060, 85.080

© BIS 2022

B U R E A U  O F  I N D I A N  S T A N D A R D S

MANAK   BHAVAN,   9  BAHADUR  SHAH   ZAFAR  MARG

NEW DELHI  110002

December 2022		                           		                                 Price Group

FOREWORD

This Indian Standard was adopted by the Bureau of Indian Standards after the draft finalized by the Paper Based Packaging Materials Sectional Committee, had been approved by the Chemical Division Council.

The packaging should be adequate to protect the contents from several hazards like the vagaries of climate, rough handling, indifferent transport methods and the system of marketing and storage.

The packaging materials as are used in the industry are many and varied. They are paper and paper products, textiles, metal and metal foils, plastics and a variety of laminates, wood, glass and ceramics, cushioning materials, strapping and hooping materials, nails, etc. Among these, paper and paper products are of major importance.

This standard is part 1 of IS 4006 series of standards which cover methods of tests which are carried out for paper and pulp based packaging materials to evaluate their quality. Other standards of IS 4006 series are:

IS 4006 (Part 2) Methods of Test for Paper and Pulp Based Packaging Materials, Part 2

IS 4006 (Part 3) Methods of Test for Paper and Pulp Based Packaging Materials, Part 3

This standard was originally published in 1966. It was first revised in the light of latest technological developments. In first revision, compression resistance (ring crush test) and air permeance test was aligned with international methods of testing. An alternate test method by Taber stiffness tester for the measurement of rigidity, stiffness and softness was prescribed.

This revision has been brought out to bring the standard in the latest style and format of Indian Standards. References have been updated too.

The composition of technical committee responsible for formulation of this standard is given in Annex B.

In reporting the result of a test or analysis made in accordance with this standard, if the final value, observed or calculated, shall be rounded off in accordance with IS 2:2022 'Rules for rounding off numerical values’.

Indian Standard

Methods of Test for Paper and Pulp Based Packaging Materials

Part 1

Flexural resistance and deflection, Waterproofness, Water penetration, Grease resistance, Abrasion loss, Blocking resistance, Compression resistance, Rigidity, stiffness and softness; and Air permeance

(Second Revision)

1 SCOPE

1.1 This standard prescribes methods for the following tests for paper and pulp based packaging materials:

a)	Flexural resistance and deflection;

b)	Waterproofness;

c)	Water penetration;

d)	Grease resistance;

e)	Abrasion loss;

f)	Blocking resistance;

g)	Compression resistance;

h)	Rigidity, stiffness and softness; and

j)          Air permeance.

2 REFERENCES

2.1 The standards listed in Annex A contain provisions which through reference in this text, constitute provisions of and necessary adjuncts to this standard. At the time of publication, the editions indicated were valid. All standards are subject to revision and parties to agreements based on this standard are encouraged to investigate the possibility of applying the most recent editions of the standards indicated in Annex A.

2 TERMINOLOGY

2  For-the purpose of this standard, the following definitions shall apply.

2.1 Air Permeance

The mean flow of air through unit area under unit pressure difference in unit time, under specified conditions. It is expressed in micrometers per pascal second. [1 ml/( m2. Pa . s) = 1µm/(Pa . s)].

2.2 Blocking

Blocking is defined as the degree of cohesion or adhesion between contiguous layers of similar or dissimilar materials in roll or sheet form which prevents their satisfactory and efficient use.

2.2.1 Blocking Resistance

The ability of a given material to resist blocking effects of temperature, pressure and the relative humidity.

2.3 Density

The mass of paper or paperboard per unit volume or the apparent specific gravity.

2.4 Rigidity or Flexural Resistance

The property of a paper or paper board to resist an applied bending force proportional to EI, where E is Young's modulus and I the moment of inertia.

2.5 Rigidity Factor

It is proportional to the modulus of elasticity, E, or modulus of rigidity which is a measure of the rigidity of the structure of the sheet; it is a specific property of the material and the way it is put together inside the sheet.

2.6 Softness

Softness of a paper is the feeling of softness when a sheet is crumpled in the hand. This depends upon the ease of crumpling, together with the absence of sharp edges in the crumpled sheet. It is inversely proportional to the rigidity EI modified by a function of the thickness of the sheet.

2.7 Stiffness

Ability of paper or paperboard to support its own mass, the inverse of flabbiness or limpness. It is proportional to EI/M where M is the nominal mass of the paper or paperboard.

2.8 Stretch

The extension resulting from the application of a tensile stress up to the point of rupture.

2.9 Tensile Strength

The limiting resistance of a test piece of paper or board submitted to a breaking force applied to each of its ends under the conditions defined in the standard method of test. The tensile strength is generally expressed as breaking length.

2.10 Thickness

It is the thickness of a single sheet when placed under steady pressure of 0.5 to 0.6 kg/cm2 between two circular and parallel plane surfaces, the smaller of which has an area of approximately 160 mm2.

3 SAMPLING

3.1 Representative samples for test shall be drawn as prescribed in 4 of IS 1060 (Part 1).

4 CONDITIONING OF TEST SPECIMENS

4.1 Since the relationship between the moisture content of the material under test and the results of various tests varies, the material under test shall be conditioned as given in 6 of  IS  1060 (Part 1).

5 FLEXURAL RESISTANCE AND DEFLECTION

5 General

This test indicates the relationship between the load and deflection which may be used to determine the modulus of elasticity or stiff-ness of a given paper product. This test is usually used for book binding papers.

5.1 Apparatus

5.1.1 Tensile Tester

Preferably equipped with a recording device which gives a graphic record of the applied load and deflection (see note under 5.1.2.1).

5.1.2 Flexural Loading Device

This is in two parts. The stirrup is provided with a tab for clamping in the upper clamp of the tensile tester. The bearing surface at the bottom of the stirrup is a smooth metal cylinder. The stressing attachment carries an inverted stirrup at each end, similar to stirrup mentioned above, such that the cylinders are parallel to each other, and a tab in the centre to be clamped in the lower (stressing) clamp of the tensile tester.

5.1.2.1 The span (distance between centres of the two cylinders in attachment) shall be 75 mm and the diameter of the cylinders shall be 3 mm.

NOTE - Any equivalent means of applying a measurable load to the centre of supported strip of the specimen and measuring the deflection may be used.

5.1.3 Scale

If the tensile tester or other apparatus used is not equipped with a device for recording the deflection it may be measured with a scale graduated in 0.01 cm.

5.2 Test Specimen

The test specimens shall be cut from the sample in such a way as to be thoroughly representative of it. The test specimens shall be 125 mm long and 25 mm wide, cut accurately and parallel to within 1.5 mm and with clean-cut edges in each principal direction of the sample. The specimens shall be conditioned for testing as a given in 4.

5.3 Procedure

5.3.1 Fasten attachment in the lower (stressing) clamp of the tensile tester with the axes of the two cylinders in a plane perpendicular to the direction of movement of the clamp. Fasten stirrup in the upper clamp with its cylinder parallel to the other two so that it will load the specimen at mid span. Counterweigh the stirrup or determine the scale correction necessary to compensate its mass. Run up the lower clamp with the attachment until the specimen is insertable without bending under the two end cylinders and over the one of mid span, leaving equal lengths projecting at the two ends. Apply the load until the specimen breaks or until after a maximum load has been reached. The rates of loading shall be such that the maximum is reached between 30 and 45 s.

5.3.2 If the testing instrument does not have a recording device for the amount of deflection at maximum load, measure it with the scale. Allow one end of the scale to rest on the lower clamp and read the scale opposite a reference line on the upperclamp at the instant loading is begun, at chosen intervals of loading, and at the instant of failure or maximum load.

5.3.3 Tests shall be made on not less than 5 specimens cut from each of the two principal directions of the sample.

5.4 Report

5.4.1 Report the results to two significant figures as the average flexural resistance (load at failure, or maximum load in case there is no failure) in kilograms, and the deflection in millimeters in both principal directions of the sample for the dimensions of the specimen tested.

5.4.2 The report may also give the load corresponding to various increments of deflection or the deflection at various load increments.

6 WATERPROOFNESS

6 General

Waterproofness of the outer surface is determined by exposing a known area of paper or board to 2.5 cm head of water for 30 min and finding the increase in mass.

6.1 Apparatus

It consists of two square metal plates having a circular opening in the centre with an area of approximately 80 cm2. A suitable type of apparatus is shown in Fig. 1.

All dimensions in millimetres.

FIG. 1	APPARATUS FOR THE DETERMINATION OF WATERPROOFNESS

6.2 Procedure Fix the weighed sample in the tester and put water at 27 ± 2°C on its surface to form a head of 2.5 cm. After 30 min have elapsed, decant the water and remove the surface water quickly with the help of blotting paper. Again weigh the sample without any loss of time. Min 3 samples shall be tested.

6.3 Calculation

Report the average increase in mass of the 3 samples tested as follows:

Increase, g/m2 =

where

M2 = mass in g of the sample after exposure to water;

M1 = initial mass in g of the sample; and

A = area in m2 of the sample.

7 WATER PENETRATION

7.1 Apparatus

It consists of a metal tube with an internal cross-section of not less than 10 cm2 and not less than 10 cm high, with arrangements to clamp it on the test piece.

7.2 Procedure

Clamp the metal tube on the sample, placing a filter paper in close contact with it on the underside of the sample. Put water at 27 ± 2°C containing one percent eosin or any other water soluble dye. At the end of 18 hours pour out the water and examine the filter paper under-neath. There should be no staining of the filter paper.

8 GREASE RESISTANCE

8.0 General

Grease resistance of paper is determined by the time taken by turpentine to penetrate through the paper.

8.1 Apparatus

8.1.1 Tube of any rigid material, 2.5 cm inside diameter and not less than 2.5 cm in height, with smoothened ends.

8.1.2 Pipette

Calibrated to deliver 1.1 ml.

8.1.3 Round-Grained Sand

Screened to pass a 850 pm IS sieve and be retained on a 600 tan IS sieve.

8.1.4 Paper

Sheets of clay coated white papers of 100 g/m2 substance.

8.2 Reagents

8.2.1 Turpentine

Coloured, water-free turpentine, prepared as follows.

8.2.1.1 To 100 ml of pure gum spirits turpentine (relative density 0.860 to 0.875 at 15.5°C) add 5 g of anhydrous calcium chloride and 1.0 g of oil-soluble red dye. Stopper the container, shake well and let stand for at least 10 hours. Shake occasionally. Then filter through a dry filter paper and store in an air-tight bottle.

8.3 Test Specimen

8.3.1 Cut representative specimens 10 cm square from the sample under test.

8.4 Procedure

8.4.1 Not less than 10 conditioned specimens shall be used. Make an equal number of tests on each side of the sample; if possible, note which is the felt side and which is the wire side.

8.4.2 Place each specimen on a sheet of the paper, which rests on a smooth plane surface. Place the end of the tube on the specimen and put 5 g of sand in the tube. Since the purpose of the tube is solely to assure a uniform area of the sand pile, remove it immediately after the addition of the sand. Using the pipette add 1.1 ml of the coloured turpentine to the sand and note the time.

8.4.3 Move the test specimens to different positions on the paper and examine the uncovered area of it for staining, every 30 seconds for the first 2 minutes, every minute for the next 8 minutes, and every 3 minutes thereafter. As soon as the first red stain appears on the paper, note the time. The time elapsed, in seconds, between the application of the turpentine and the appearance of the first distinct red stain shall be recorded as the transudation time.

NOTE - In the absence of knowledge of the probable time of transudation, it is advisable to make a few preliminary tests.

8.5 Report

8.5.1 Results shall be reported as turpentine transudation in terms of seconds. The report shall include the number of specimens tested and the maximum, minimum, and average turpentine transduction. If it is possible to identify the two sides of the paper, results shall be reported separately for specimens tested with the felt side up and with the wire side up. All tests over 1 800 seconds shall be reported as 1 800 + seconds and if individual results of 1 800 + are included in any average, such average shall be followed by a plus sign. The average shall be reported on the basis of all tests made. It is recommended that the following form be used in reporting results when possible:

|  | Felt Side Up | Wire Side Up |
| --- | --- | --- |
| Turpentine transudation, seconds: |  |  |
| Maximum | 1 800+ | 1750 |
| Minimum | 1500 | 1400 |
| Average of 10 tests | 1750+ | 1600 |
| Total average | 1675+ |  |

9 ABRASION LOSS

9 General

This method provides a measurement of the susceptibility of the surfaces of paper and paperboard used for packaging to the action of standardized abrasive surfaces, either wet or dry. The test gives indication of the surface wear to be expected when packages are shipped and subjected to prolonged vibration in contact with each other. It is not applicable to surfaces which are waxed or treated with similar materials that would fill in the pores of the abrasive wheels.

9.1 Apparatus

9.1.1 Abrading Instrument - It consists of a horizontal turntable and centre clamp which revolves counter-clock wise at 65 to 75 rpm, upon which the specimen is attached, and two weighted parallel arms, each carrying a special abrasive embedded rubber wheel freely rotating on a ball-bearing horizontal spindle on each arm, and each resting on the specimen with a pressure of 1000 g for the dry test and 500 g for the wet test. The surface of the table is covered with a disk of soft, rubberized material 0.75 mm thick. Each abrasive wheel is 4.5 to 5 cm in diameter and 12.7 mm thick and is composed of a special finely screened and standardized abrasive embedded in hard rubber. A revolution counter is attached to the table.

9.1.1.1 The lines of contact of the wheels on the specimen are at right angles to the parallel supporting arms and situated at 2.5 cm from the centre of the turntable towards the axis about which the supporting arms turn. The centre of the line of contact of the wheel on the arm to which the turntable revolves is 4.5 cm to the right of the perpendicular from the axis of the arms to the centre of the turntable. The centre of the contact line of the wheel on the arm from which the turntable revolves is 39 mm to the left. In this manner, when in contact with the turning specimen, the two wheels revolve in opposite directions and exert a combined abrasive, compressive, and twisting action over a circular path approximately JO ems in area, twice during each revolution of the specimen.

9.1.1.2 For the wet abrasion test, use a rubber-covered turntable having and annular raised rim, to permit the surface of the specimen to be covered with water during the test.

9.1.2 Resurfacing Turntable

A rubber-covered turntable on which an abrasive disk is mounted, for resurfacing the wheels.

9.1.3 Brush

A soft brush about 12.5 mm wide with the bristles protruding about 25 mm.

9.2 Calibration

9.2.1 After testing a fibre surface containing fillers or coating, or after each 1 000 revolutions, re-surface the wheels as given in 9.2.1.1.

9.2.1.1 With the resurfacing table and disk in position, run the wheels on the surface under pressure of 1 000 g for 20 to 50 cycles, depending on their condition. During the resurfacing operation, continually remove abraded particles from the wheels and disk by blowing or with the brush. Renewal of the wheel faces is indicated by the clearing up of the initial coloured track on the abrasive disk.

9.3 Test Specimens

9.3.1 Three or more square, octagonal, or circular conditioned specimen disks, approximately 100 cm2 in area, with a hole in the centre to permit clamping on the turntable, are required. For paperboards more than 3 mm thick, especially for the wet test, it may be necessary to split or suitably reduce the thickness of the specimens, taking care not to affect the surface to be tested.

9.3.2 Unless it is specified which side of the specimen is to be tested, mark the sides A and B, respectively, and report results for each side separately.

9.4 Procedure

9.4.1 Dry Abrasion Test

Carefully brush the surface and edges of each test specimen, holding it by the edges. Weigh to the nearest milligram and clamp it in position on the turntable. Reset the counter at zero and carefully lower the wheels on the specimen with a pressure of 1 000 g. Start the test by switching on the motor. Allow the test to proceed for a sufficient length of time so that the surface of the test specimen is just completely removed. Meanwhile with the brush but not by blowing, remove accumulated debris from time to time. Note the counter reading remove the test specimen and holding it by the edges, carefully brush off any loose fibres or particles and reweigh. Record the loss in mass in milligrams L.

9.4.2 Wet Abrasion Test

Thoroughly clean the rimmed turntable and mount the specimen to be tested. Adjust the mass of the arms to 500 g each and lower them upon the specimen. Reset the counter to zero. Add sufficient water at room temperature to flood the upper surface of the specimen and immediately switch on the motor. Allow the test to proceed for a sufficient length of time so that the surface of the test specimenis just completely removed. During this test, neither use the brush nor disturb the action of the wheels. Note the counter readings.

9.4.2.1 Remove the rimmed table and pour off the liquid into a clean beaker or glass dish. Remove the specimen and, with a wash bottle or gentle jet of water, wash all the loose material from the surface of the specimens and from the inside of the turntable into the dish and add also any fibrous particles adhering to the wheels.

9.5 Calculation and Report

9.5.1 The abrasion loss is defined as the number of milligrams of material removed per 1 000 revolutions calculated from the formula:

Abrasion Loss =

where

L = material removed in milligrams ; and

R = number of revolutions of the turntable.

9.5.2 Report the average result from a specified side of at least 3 specimens as the abrasion loss to the nearest two significant figures.

10 BLOCKING RESISTANCE

10 General

This method covers the test for rating the blocking resistance of flexible types of packaging materials wherever the tendency to block is important. The blocking resistance is determined by observing the adhesion or cohesion between the contiguous surfaces of the specimens when they have been subjected to a pressure of 35 g/cm2 for a period hours.

10.1 Apparatus

10.1.1 Oven

A constant-temperature oven which is capable of maintained at selected temperatures from 27 to 67°C within ± 1°C.

10.1.2 Desiccator (for Use as Humidity Chamber)

Min diameter 152 mm. Ground glass edges should be perfect, clean and freshly lubricated with stopcock grease.

10.1.3 Bedplate

10 x 10 cm piece of plate glass or metal plate with flat upper surface.

10.1.4 Pressure Blocks

Four blocks or suitably weighed pieces of plate glass witI1 flat under surfaces 3.5 x 45 mm. The mass of each block or weighed glass surface shall be adjusted to yield a pressure of 35 g/cm2 on underlying specimens.

NOTE - A brass block in the form of a rectangular parallelopiped, 35 x 45 x 45 mm approximately will meet the requirements without loading. The height of the block should be adjusted to give a total mass of 551.25 g.

10.1.5 Interleaving Material

Thin, hard surfaced paper or metal foil 35 x 45 mm.

10.2 Test Specimens

Eight test specimens each 35 x 45 mm shall be cut from each sample for each set of test conditions used. The specimen shall be cut from the samples in such a way as to be fully representative.

10.3 Test Conditions

10.3.1 One or more of the sets of conditions given below shall be used to test for blocking. Selection of the proper conditions will depend upon the type of material tested and the actual conditions which are liable to arise during storage and use of the material. In any case the temperature selected shall be below the softening point of the coating. (If the test temperature used is higher than the softening point of the coating materials, such as wax, these may soak into the base sheet and thus give no adhesion)

| Dry Bulb Temperature °C | Relative Humidity Percent | Pressure g/cm2 |
| --- | --- | --- |
| 38 | 75 | 35 |
| 49 | 75 | 35 |
| 60 | 75 | 35 |
| 38 | 44 | 35 |
| 49 | 44 | 35 |
| 60 | 44 | 35 |

NOTE : A tolerance of 1°C is allowable in the temperatures listed.

10.3.2 The desired relative humidity condition is obtained by using a saturated solution of the proper salt in distilled water in the presence of an excess of the solid phase. Place the solution in the base of the desiccator for this test using sodium chloride to achieve 75 percent relative humidity and potassium carbonate to obtain 44 percent relative humidity.

10.4 Procedure

10.4.1 Condition the test specimens for at least 1 hour prior to test under the conditions specified in 4. Also condition the apparatus including the desiccator containing the proper salt solution and the pressure surfaces after assembly, for at least 1 hour in the test oven which has been previously adjusted to the desired temperature. When the desiccator is warmed, open its lid for a few minutes and then close the lid until the specimens are ready for insertion.

10.4.2 Stack the conditioned test specimens and pressure media on the shelf of the desiccator in the following sequence:

a) 10 x 10 cm bottom plate;

b) Interleaving paper of foil;

c) Four test specimens;

d) Interleaving paper or foil;

e) Four test specimens; and

f) Pressure block.

10.4.3 Stack specimens having faces of different characters so that the three possible surface combinations, namely, face to face, face to back, and back to back, are tested. In this case, stack the two sets of 4 test specimens in the following sequence:

Interleaving paper or foil

One specimen, face up         (face to face)

One specimen, face down       (face to face)

One specimen, face down         (back to back)

One specimen, face up              (back to back)

Interleaving paper or foil

Four test specimens as above

Interleaving paper or foil

Pressure block

10.4.4 A desiccator 15 cm in diameter permits 4 samples to be tested in duplicate at one time. Locate each stack in a quarter section of the bottom plate so that individual stacks do not overlap and so that the test areas are completely supported by the bottom plate.

10.4.5 Place the desiccator containing the assembled test stacks in the oven. Let the lid of the desiccator remain partially open for 15 min, then slide it shut. Leave the desiccator in the oven at the desired temperature for 24 ± 1 h. Then take the desiccator from the oven, carefully remove the pressure blocks from the test stacks and remove each stack from the desiccator. Gently lay the stacks of test specimens down in the room preferably at 27°C and 65 percent relative humidity, for half an hour, then examine by slipping or peeling the sheets apart and rate for blocking resistance as given below:

| Blocking Resistance | Criteria |
| --- | --- |
| No blocking | No adhesion or cohesion between contiguous surfaces, which slide freely upon one another. Surfaces of specimens are not marred when sheets are separated. |
| Slight blocking | Slight adhesion. Adjacent surfaces do not slide freely, but with frictional pressure. Surface may or may not show a very slight evidence of marring |
| Considerable blocking | Adhesion or cohesion of contiguous surfaces. Layers may be separated with difficulty. Surfaces will be marred or partially destroyed. Paper-base materials show loss of fibre. Synthetics may or may not display surface mar |
| Complete blocking | Blocking to the extent of a complete seal or weld between adjacent surfaces which cannot be separated without destruction of the test specimen |

10.5 Report

10.5.1 The report shall include the name and type of material, the rating of blocking resistance, including a brief description of blocking found, the temperature, relative humidity and pressure used. If dissimilar surfaces exist on the test specimen, report the blocking of the 3 possible surface combinations.

11 COMPRESSION RESISTANCE (RING CRUSH TEST)

11 General

This method covers the measurement of the resistance of paperboard to edgewise compression. Corrugated and solid fibreboard containers are subjected to crushing forces in shipment. This test is used for two purposes in the evaluation of the paperboard to be used as components of such fibreboard containers: (a) to indicate edgewise rigidity of the board so that manufacturing processes may be controlled to secure the desired results, and (b) to indicate the probable crushing resistance of the finished container. This method is intended only for paperboard not exceeding 0.49 mm in thickness.

11.1 Apparatus

11.1.1 Compression Machine

The apparatus shall consist essentially of a compression testing machine having the following.

11.1.1.1 An upper and a lower platen, one of which may be fixed and the other removable. The surfaces of the platen shall remain smooth, flat, and parallel to each other within 1 part in 2 000 throughout the test and shall be so mounted as not to have more than 0.05 mm movement in the horizontal direction.

11.1.1.2 Means for exerting force on a specimen placed between the two platens. This may be accomplished either by causing the movable platen to approach the fixed platen at a uniform speed or applying a constantly increasing pressure against the movable platen without necessarily causing motion thereof until collapse of specimen. In either case, the force applied to the specimen shall be developed at a rate equivalent to (111 ± 22 N) when the platens are in contact. Means for measuring and indicating the applied load within 4.4 N and the machine should have a capacity of not less than 1 330 N and the indicating mechanism should be such that it can be accurately checked with dead-weight loads.

11.1.1.3 Specimen holder

At the centre of the lower platen of the compression testing machine there shall be positioned a specimen holder comprising a circular block having an annular groove cut square 6.4 ±0.2 mm deep and 49.3 ±  0.03 mm in outside diameter. The base of the annular groove shall be parallel with the base of the block to 0,013 mm. A branch groove running from the annular groove to the edge of the block shall be provided to permit insertion of the specimen. The centre “island” created by the annular groove may be made removable and replaceable with disks of different diameters so as to vary the width of the groove to provide for varying specimen thickness. The disk used for any particular caliper of board shall be of such a diameter that when placed in the block the resulting groove will have a width not less than 150 and not more than 175 percent of the nominal caliper of the specimen being tested. The table given below may be utilised for the selection of the proper disk for a particular test. These disks may be provided with a centre pin to fit a receiving hole in the centre of the block. The disk is then free to turn as the specimen is inserted through the branch groove. While this is the preferred design any specimen holder which provides support to both surfaces of the specimen permits 64 mm of the specimen to extend above the surface of the holder, and allows insertion without injury to the specimen, is acceptable.

| Thickness of Test Piece (mm) | Diameter of Disk (mm) |
| --- | --- |
| 0.15 to 0.17 | 48.80 |
| 0.17 to 0.20 | 48.70 |
| 0.20 to 0.23 | 48.60 |
| 0.23 to 0.28 | 48.50 |
| 0.28 to 0.32 | 48.30 |
| 0.32 to 0.37 | 48.20 |
| 0.37 to 0.42 | 48.00 |
| 0.42 to 0.49 | 47.80 |

11.1.2 Cutting Device

A device capable of accurately cutting the specimen to exact dimensions. The edges of the specimen must be clean and sharp and absolutely parallel. The preferred method of accomplishing this is by means of a punch and die, or, lacking this, a card cutter equipped with an adjustable outside guide. Parallelism of the long edges of the specimen shall be such that the width dimensions at the opposite ends shall be within 0.015 mm of each other. The length shall be 152 ± 0.13 mm.

11.2 Test Specimen

All test specimens shall be 152 mm long and 12.7 mm wide. Those cut with the long dimension perpendicular to the machine direction of the board shall be designated MD specimens; those cut with the long dimension parallel to the machine direction of the board shall be designated CD or OD specimens. At least ten specimens of each of these two directions shall be cut and tested. In cutting the specimens, care shall be exercised to assure that.

11.2.1 The long edges are parallel such that the width at opposite ends shall be within 0.015 mm of each other.

11.2.2 The ends will just about cover, and not overlap or leave a gap when placed in the specimen holder.

11.2.3 The long edges are truly parallel (or perpendicular) to the machine direction of the board.

11.2.4 The long edges are cut clean without wipe or being torn or frayed in any way by poorly functioning cutting equipment.

11.3 Procedure

Insert each specimen in the specimen holder and position at the centre between the two platens. When inserting the specimens in the specimen holder, they shall be alternated in such a manner that half of the specimens are tested with the finished surface of the board on the convex side and half with the finished surface on the concave side of the ring.

11.3.1 Apply the crushing force to the long edges of the specimen ring until the 6.4 mm section projecting above the specimen holder has collapsed. Record the maximum load required to cause this collapse.

11.4 Report

Report the average load required to crush the sample, in each direction, in kilograms to the nearest 0.1 kg. State whether the crushing force is developed by means of a constant speed movable platen or by the application of a constantly increasing pressure to the movable platen.

12 RIGIDITY, STXFFNESS AND SOFTNESS

12 General

The measurement of rigidity, stiffness and softness helps in predicting the performance of a packaging material in actual use. Two methods have been prescribed for the determination of stiffness. Method A is meant for paper or light weight paper board and Method B is for paper board only.

12.1 Method A

12.1.1 Apparatus

12.1.1.1 The apparatus used shall consist of a clamp formed by a pair of flat jaws or rollers adapted to grip the end of a 50 mm wide strip of material to be tested along a horizontal axis at right angles to its length. The jaws or rollers shall be mounted on a spindle so as to enable the clamped end of the strip to be rotated about that axis and means shall be provided for indicating when the clamped end of the strip has been rotated axially through a right angle from any initial position. Clamping surfaces shall be coincident. The edges of the

12.1.1.2 When determining the critical angle of sheet materials that creep appreciably during the interval between reversals during the test (for example, paper coated with plastic waxes and textiles), stops shall be used on either side of the spindle which are so positioned as to catch the specimen near its end as it falls over, but not high enough to lend any support to the specimen when the spindle is reversed to the position where the specimen is about to fall back to the other side. These stops may be coveniently made from to strips of bent thin sheet copper fixed to the base of the instrument.

12.1.1.3 Before use, the instrument shall be levelled so that the axis of the clamping edges is horizontal.

12.1.1.4 Rule accurately graduated in millimetres.

12.1.1.5 Scale for accurately determining the nominal substances.

12.1.1.6 Standard thickness micrometer.

12.1.2 Test Specimen

12.1.2.1 The specimens for test shall be cut with clean and parallel edges in each principal direction of the paper, 15 to 50 mm wide, and over 75 mm or as long as may be convenient. Eliminate any pronounced curvature of the strips in the direction of their length by rubbing the strip over a smooth edge before testing. Also eliminate in a similar way any curvature across the width of the strips before cutting. In such cases the width of the cut strips should be reduced to the minimum namely 15 mm.

12.1.3 Procedure

12.1.3.1 Place the end of each strip between the jaws of the spindle and with enough overhanging length so that on rotating the spindle clockwise, the strip being on the left, falls through the vertical to the right, and on rotating the spindle counter-clockwise, it does not fall back to the left when turned through 90” from that point. Reduce the overhanging length until a slow rotation of 90 ± 2°C clockwise and counter-clockwise causes the end of the strip to fall from one side to the other. Measure the effective overhanging length (critical length) from the line where the edges of the jaws or rollers grip the specimen to the end of the strip. With rollers, a little dry carbon black or dyestuff may be blown into the nip to locate accurately the grippping edge and enable a corresponding mark to be made on the framework to serve as a datum for test made thereafter.

12.1.4 Report

12.1.4.1 The report shall state, as may be required, the rigidity, rigidity factor, stiffness, or softness in each direction to 3 significant figures calculated as follows:

Rigidity =

Rigidity factor =

Stiffness =

Softness =

Where

L= average critical length in cm;

T= thickness of a single sheet of paper in thousandths of centimetre;

t= basic thickness of a single sheet of creped paper in thousandths of centimetre; and

M= nominal mass of the paper or paperboard in g/m2.

12.2 Method B

12.2.1 Apparatus

12.2.1.1 Stiffness instrument

The apparatus used shall consist of a pendulum supported in antifriction bearings, carrying a vice which has two clamping screws for holding and centering the test specimen, the lower edge of the vice coinciding with the centre of the pendulum bearing. The pendulum is balanced, and at its lower end is a stud to which weights may be attached, and which loads the pendulum at a distance of 100 mm from its centre; without added masses of counter masses the loading is 10 g. A line, coinciding with the centre line of the vice jaws and the weight stud, is engraved at the upper end of the pendulum.

12.2.1.2 A vertical disk, driven on the same axis as the pendulum by a geared reversible electric motor at the rate of 210 ± 20 per minute carries two driving arm attachments so located as to provide the specimen

with the cantilevered loading length of 50 mm when it is deflected 15°. The driving arms have rollers which are adjustable to accommodate specimens of different thickness. In the periphery of the upper part of the disk is a marked line coinciding with the centre line between the driving rollers and the axis, and two reference lines are engraved on the periphery of the disk at angular distances of 7.5° and 15° on both sides of the centre mark.

12.2.1.3 Located around the periphery of the disk, a fixed annular disk with a load scale from 0 to 100 on both sides of a zero point which is adjusted to coincide with the centre line mark, the scale indicating the

bending moment required to flex the specimen to the right or to the left, the divisions being in accordance with the sine of the angle through which the pendulum and weight are turned.

12.2.1.4 A switch for the motor to turn the disk clockwise or counterclockwise and which preferably also operates an electric brake to stop the disk at any point on the scale. Bending moment of 5 000 g. cm.

12.2.2 Test Specimen

12.2.2.1 Obtain samples of paper, taking care not to bend, roll, score or otherwise damage the area to be tested. From each test cut five test specimens free from scores or blemishes, 38.1±03 mm wide by 70±1 mm long, parallel to and at right angles to the machine direction.

12.2.3 Procedure

12.2.3.1 Condition the test specimens in accordance with 6 of IS 1060 (Part 1).

12.2.3.2 Place the instrument on a firm level surface. Set the loading disk at zero and place a chosen weight on the pendulum stud. If possible, choose a weight such that the resulting readings for the specimen to be tested are near the centre of the scale. Close the two jaws of the vice to meet on the centre line of the pendulum and adjust the legs of the instrument so that the engraved mark on the upper end of the pendulum coincide with zero on the scale of the fixed annular disk.

12.2.3.3 Displace the pendulum 15° and release it to check the bearing friction. It should make at least 20 complete swings before coming to wrest.

12.2.3.4 Place a test specimen in the vice with one end approximately level with its top edge and the other end between the rollers. With the two clamping screws of the vice, align the specimen with the centre line of the pendulum. Turn each of the screws for adjusting the rollers so that they just contact the specimen, then after taking up the backlash in one screw, back off one-quarter turn to give a clearance distance of 0.33 ± 0.03 mm greater than the thickness of the specimen.

NOTE - On instruments not equipped with adjustable, rollers, use the appropriate set of rollers for the thickness of the test specimen.

12.2.3.5 Switch on the motor to rotate the loading disk to the left and thus deflect the specimen until the engraved mark on the pendulum is aligned with the 15° mark on the loading disk. Stop the motor, record the scale reading, and immediately return the loading disk to zero. Take a similar reading by deflecting the specimen to the right. The stiffness of the specimen is taken as the average of the two readings. Test 5 specimens cut in each direction.

NOTE 1 - On instruments not equipped with an electric brake, take the reading as the disk rotates over the end-point. If the instrument has a brake, check that it functions properly.

NOTE 2 -It is not necessary for the pendulum to balance at zero with the undeflected specimen in place. Curvature of the specimen would result in a difference between the two readings which are averaged to give the stiffness of the specimen.

12.2.4 Report

12.2.4.1 For each test unit and each direction report to three significant figures the average values in g/cm for five test specimens.

NOTE - A test with specimens cut with their length in the machine direction is reported as stiffness in that direction.

12.2.4.2 Report also the standard deviation of the individual results and the number of specimens tested in each direction.

12.2.5 The value may be expressed as stiffness factor as follows:

Stiffness factor =

where

T = thickness in mm.

13 AIR PERMEANCE

13.1 General

This method provides a measurement of air permeance of paper and board using the Bendtsen apparatus. The method is applicable to papers and boards having air permeances between 0.35 and 15 m (Pa.s). The method is unsuitable for rough surfaced papers and boards, such as creped and corrugated papers, which cannot be securely clamped to avoid leakage.

13.2 Apparatus

The apparatus consists of a compressor and pressure stabilizing reservoir to supply air, a flow meter with a pressure controlling device and a measuring head (see Fig. 2).

13.2.1 Compressor

The compressor shall generate air at a pressure of about 127 kPa. If necessary, filters shall be provided to ensure that the air is clean and free of oil.

13.2.2 Pressure Stabilizing Reservoir

The pressure stabilizing reservoir shall have a volume of about 10 litres and shall be installed between the compressor and the flow meter.

A - Compressor

B - Pressure Stabilizing Reservoir

c - Manostat

D - Cental Unit

E - Manometer

F - Sample Clamping Device

FIG. 2 ARRANGEMENT OF TEST APPARATUS FOR AIR PERMEANCE

13.2.3 Monostat

The air pressure shall be controlled by a monostat at the inlet of the flow meter. The air pressure shall be controlled at 1.47 kPa with monostat masses provided.

13.2.4 Flow Meter

The flow meter shall be fitted with variable area flow meters which offer optional flow rate measurements in the ranges 5 to 150, 50 to 500 and, on some instruments, 300 to 3 000 ml/min. These three variable area flow meters shall be capable of being read to within 2, 5 and 20 ml/min respectively.

13.2.5 Measuring Head

The measuring head consists of a device in which the test piece is clamped between an annular flat surface and a circular rubber gasket. Both the annular ring and the gasket shall be of such dimensions that the test piece enclosed by either of them is 10.0±0.2 cm2. The tubing used to contact the head to the flow meter shall be made of rubber or plastics material, 7 mm in internal diameter and 9 mm in external diameter.

13.3 Test Specimen

Not less than ten test pieces shall be cut and their two surfaces identified, for example. top side and wire side. The minimum size of the test piece shall be 50 mm x 50 mm. The test area shall be free from folds, wrinkles, holes, watermarks, or defects normally not inherent in the paper or board. The part of the test piece which will become the test area shall not be handled during preparation and testing.

13.4 Procedure

13.4.1 Place the instrument on a rigid level bench. Level the instrument by means of the two front feet. Start the compressor and ensure that no vibration can cause erroneous readings.

13.4.2 Decide which variable area flow meter will be used for the test, selecting, when possible, the variable area flow meter which will give a reading less than 80 percent of the scale with the 1.47 kPa monostat mass. Air flows less then 30 ml/min are not recommended. Do not use air flows above 1200 ml/min, because at high air flows the pressure drop between the flow meter and the measuring head can be sufficient to render the calibration of the variable area flow meter invalid. Set the valves at the bottom of the area flow meters to deliver through the selected variable area flow meter. When the air flow has started, gently place the 1.47 kPa monostat mass on the shaft and start it spining. It should continue to spin slowly and smoothly.

NOTE - The monostat mass should not be placed on the shaft until after the air flow has started and should be removed before the air flow is stopped.

13.4.3 Set the valve at the outlet of the flow meter to deliver through the larger (upper) outlet and connect the measuring head to this outlet using not more than 700 mm of tubing. (A longer length of tubing results in significant pressure drop between the How meter and the head.)

13.4.4 Verify the calibration of the variable area flow meter by temporarily replacing the measuring head with the appropriate tube. The air flow reading should agree with the correct reading for that capillary to within ±5 percent.

13.4.5 With the head again connected to the flow meter, clamp a smooth non-metallic rigid plate against the gasket and check that the rotor of variable area flow meter comes to rest at the bottom of the variable area flow meter.

13.4.6 Clamp the test piece between the plate and the gasket. Record the variable area flow meter reading at least 5 seconds after clamping.

13.4.7 Test the remaining test pieces by the same method, ensuring that in half the tests the upper side of the test piece faces the gasket and in the other half the lower side of the test piece faces the gasket. After completing the tests, remove the monostat weight and then switch off the compressor.

13.5 Calculation and Report

13.5.1 The air permeance is calculated from the formula:

Permeance = 0.0113 x q

where

q = rate of flow of air, expressed in ml/min. passing through the test area.

13.5.2 Report the average result from a specified side as air permeance to the nearest two significant figures.

ANNEX A

(Clause 2)

LIST OF REFERRED INDIAN STANDARDS

| IS No. | Title |
| --- | --- |
| 1060 (Part 1) : 2022 | Methods of Sampling and Test for Paper and Allied Products Part 1 Test Methods for General Purpose |

ANNEX B

(Forward)

COMMITTEE COMPOSITION

Paper Based Packaging Materials Sectional Committee, CHD 16

| Organization | Representative(s) |
| --- | --- |
| Indian Institute of Packaging, Mumbai | Dr Tanweer Alam (Chairperson) |
| B&A Packaging(I) Ltd. Kolkata | Shri Amal Kumar Mohanty Shri Tapan Kr. Chand (Alternate) |
| Century Pulp & Paper Limited | Shri Sanjay Kumar Yadav Shri Sunesh Yadav (Alternate) |
| CPPRI, Saharanpur | Dr M K Gupta Dr. Sanjay Tyagi (Alternate) |
| Dr Reddy laboratories | Shri Avinash Talwar Shri Vinay Kr Singh (Alternate) |
| Federation of Corrugated Box Manufacturers of India, Mumbai | Shri Satish Tyagi Shri K P Singh (Alternate) |
| Federation of paper convertors of India | Shri Mukesh Gupta Shri Sushil Kumar Singh (Alternate) |
| Indian Institute of Packaging | Shri Madhab Chakraborty |
| Indian Institute of Technology, Roorkee | Dr. Dr Dharm Dutt Dr. Kirtiraj K. Gaikwad (Alternate) Dr. Vibhor Kumar Rastogi (Alternate) |
| Indian Paper Manufacturers Association, New Delhi | Mr. Biswaranjan Dash Mr. Rohit Pandit (Alternate) |
| Indian Agro & Recycled Paper Mills Association, New Delhi | Dr. B P Thapliyal Dr. Anil Naithani (Alternate) |
| ITC Life Sciences, Bangalore | Shri Ajith Kumar Dr Kamal (Alternate) |
| ITC, Bhadrachalam | Shri Chidambara Vinayagam Shri P.N. Sridharr (Alternate) |
| J K Paper | Shri Shri. Umakant Patil Shri Aayush Raj Srivastava (Alternate) |
| Nestle India Ltd | Shri Barun Banerjee Shri Deepak Singh (Alternate) |
| Package Design Research and Test Lab, Moradabad | Shri L.M. Gupta Shri Mayank Gupta (Alternate) |
| Prem Industries | Shri Alok Goel Shri H P Singh (Alternate) |
| Tetra Pak India Pvt. Ltd. | Shri Sharad Sharma Shri Jaideep Gokhale (Alternate) |
| Uflex Limited | Shri Ashvani Sharma Shri Rakesh Sharma (Alternate) |
| Safepack Industries Limited | Shri Rajendra Tapadia Shri Anand Tapadi (Alternate) |
| Parksons Packaging | Shri Srikanth Ramamurthy Shri Pawan Kumar Singh (Alternate) |
| Siegwerk | Shri Jatin Thakkar Priyanka Baweja (Alternate) |
| Stora Enso | Shri Sanjeev Khandelwal |
| Hersheys India Pvt Ltd | Ms Deepa Mandar Naik |
| BIS Directorate General | Shri A. K. Lal, Scientist F and Head (CHD) [Representing Director General (Ex-officio)] |
| Member Secretary Shrishti Dixit Scientist D (CHD), BIS |  |