***भारतीय मानक***

**सीबीएम मूल्यांकन के लिए प्रयोगशाला उपकरण** — **रीति सहिता**

**भाग 4 घूर्णी विस्कोमीटर**

*Indian Standard*

**Lab Instruments for CBM Evaluation — CODE OF PRACTICE**

**Part 4 Rotational Viscometer**

ICS 73.020

© BIS 2024

भारतीयमानकब्यूरो

**B U R E A U O F I N D I A N S T A N D A R D S**

मानकभवन, 9 बहादुरशाहज़फरमार्ग, नईदिल्ली- 110002

MANAK BHAVAN, 9 BAHADUR SHAH ZAFAR MARG

NEW DELHI - 110002

www.bis.gov.inwww.standardsbis.in

**May 2024 Price Group**XX

Method and Equipments for Underground Coal Gasification and Coal Bed Methane Sectional Committee, MED 37

FOREWORD

This Indian Standard (Part 4) was adopted by the Bureau of Indian Standards after the draft finalized by the Method and Equipments for Underground Coal Gasification and Coal Bed Methane Sectional Committee, had been approved by the Mechanical Engineering Divisional Council.

Coal bed methane is the form of natural gas that is adsorbed into the solid matrix of coal. It is different from the conventional gas reservoirs as the methane is stored within the coal seams through the process of adsorption. The natural fractures in the coal seams (known as cleats) are responsible for the flow behaviour and provide the major channels for gas flow.

Several laboratory studies are carried out for CBM exploration/extraction as well as at the time of CBM operations. The laboratory studies include with various geological and geochemical data collection, data analysis, quality check and quality control of operation fluid while drilling, hydro-fracturing etc. The lab studies are essential to evaluate the gas reserve as well as for strategy finalization for exploration methodologies. One of the most challenging tasks in CBM evaluation are effluent (produced water) handling.

Assistance has been drawn from ISO 13500:2008 (Petroleum and natural gas industries — Drilling fluid materials — Specifications and tests, issued by International Standards organization)andISO 10414-1:2008 (Petroleum and natural gas industries — Field testing of drilling fluids — Part 1 Water-based fluids,issued by International Standards organization) while preparing the draft of the IS.

The code of practices for lab instruments for CBM evaluation is in four parts. This standard (Part 4) covers the rotational viscometer. Other parts in this series under the general title are as follows:

Part 1 Mud Balance;

Part 2 Marsh Funnel and Graduated Cup; and

Part 3 Turbidity Meter.

The composition of the Committee responsible for the formulation of this standard is listed in Annex B.

For the purpose of deciding whether a particular requirement of this standard is complied with, the final value, observed or calculated, expressing the result of a. test or analysis, shall be rounded off in accordance with IS 2 : 2022 ‘Rules for rounding off numerical values (*second revision*)’. The number of significant places retained in the rounded-off value should be the same as that of the specified value in this standard

*Indian Standard*

LAB INSTRUMENTS FOR CBM EVALUATION — CODE OF PRACTICE

**PART 4 ROTATIONAL VISCOMETER**

**1 SCOPE**

The rotational viscometer is a universal and multifaceted instrument for quality analysis and measurement of various rheological property of drilling fluid/hydro-fracturing fluid.It measures the flow characteristics of fluid in terms of shear stress and shear rate over various timeand temperature ranges at atmospheric pressure.

**2 ROTATIONAL VISCOMETER**

The rotational viscometer the type of coaxial cylinder rotational viscometer (coutte). It is the type of direct indicating viscometer powered by an electrical motor. The measuring fluid is accommodated between the two cylinder (rotor and bob). While rotation of the outer cylinder (rotor) it pulls the nearby fluids and as a consequence it transfers the force to the inner coaxial cylinder (bob). The torque generated to the bob and the torsion spring at the top of bob leads to the deflection. The device simulates to the various flow characteristics in terms of test conditions and constant factors.

* 1. **Design and Requirement**

**2.1.1***General Features*

1. The rotational viscometer should be complete in all respects and should work on six speeds or twelve speeds for measuring oil field fluids properties at different shear rates;
2. It should be complete with rotor, bob, sleeve, torsion spring assemblies, and stainless steel sample cup and reduction gear assembly; and
3. The equipment should operate at 230±AC, a suitable power converter should be supplied with the equipment to convert from 230 volts AC to 115 volts AC.

**2.1.2***Environmental Conditions*

1. *Ambient temperature* — 0 to 50 °C or as per the requirement.
2. *Relative humidity* —Up to 95 percent without condensation or as per the requirement.

**2.1.3***Technical Features*

The main components of the instrument and technical features are as under:

1. *Rotor Sleeve* **—** R1

|  |  |
| --- | --- |
| Inside diameter | 36.83 mm (1.450 in) |
| Total length | 87.0 mm (3.425 in) |
| Scribed line | 58.4 mm (2.30 in) above the bottom of sleeve, with two rows of 3.18 mm |
| (0.125) holes, spaced 120° (2.09 rad) apart, around rotor sleeve just below scribed line.  Sleeve surface | surface roughness average 16 to 32 cross-hatch honed. |

1. *Bob* **—**B1, closed with flat base and tapered top

|  |  |
| --- | --- |
| Diameter | 34.49 mm (1.358 in) |
| Cylinder length | 38.0 mm (1.496 in) |
| Rotor surface | surface roughness average 16 to 32 cross-hatch honed. |

1. *Torsion Spring Constant* **—**F1.0

|  |  |
| --- | --- |
| Torsional stiffness | 10.54 Nm/rad (386 dyne-cm/degree deflection) |
| Shear stress constant | 29.3 Pascal per radian deflection (0.511 Pascal per degree of deflection) (1.065 lb/100 ft2 and degree of deflection). |

1. *Sample Cup* **—**Cylindrical cup of 3" (inch) outer diameter, 500 ml capacity with an inside mark at 350 ml level. It should be made of stainless steel (316SS) suitable for handling fluids in pH range of 7 to 14;
2. *Read out* **—**Digital or analog;
3. *Shear Stress Range* **—**0 to 1500 dynes per centimeter square(min);
4. *Test Speed* **—**6/12 test speeds selectable for viscometer in 1 to 600 RPM range. Test speeds of 3, 6,100, 200, 300 and 600 rpm are must;
5. *Calibration Kit* **—**The instrument should be with auto calibration system and with manual calibration kit and calibration fluid at the range temperature; and
6. Arrangements to fix up sample cup with the base plate.

**3 CALIBRATION**

The instrument will be regularly maintained and calibrated to get accurate result as per the specification. The calibration procedure of rotational viscometer will be followed in accordance with manufacturer’s recommended procedure with the calibration fluid. While calibration,manufacturer supplied calibration fluid and temperature chart will be used.

**4 INSTALLATION AND TESTING**

Installation and testing will be done as per the manufacturer recommended standard procedure. However, following common practices may be followed:

1. Before starting the equipment, make sure all the accessories (like bob, rotor sleeve) and moving parts are properly mounted;
2. Sample cup must be properly clamped to the viscometer stand;
3. Put through power supply (220 V/50 Hz) followed switch on the main switch to standby mode. Select the parameters of measurement (Viscosity, shear stress etc);
4. Fill in the sample cup with fluid till the inner marking;
5. Sample cup can be easily adjusted using the movable clamp present on the viscometer;
6. To get accurate readings rotor sleeve should be immersed (till red marking on rotor sleeve) into the testing fluid;
7. Select the speed button as required. Push the start button for operation;
8. Before testing the sample, agitation of the fluid (if required) can be done for up to 2to 3 minutes at 600 rpm;
9. Readings can be calculated at 600, 300, 200, 100, 6 and 3 rpm to get the value of viscosity;
10. In order to measure the 10 second gel strength (at 3 RPM), allow the sample to remain in quiescent for 10 seconds. After 10 seconds turn the motor on to the low speed position and measure the maximum dial deflection before the gel breaks;
11. For 10 minute gel strength, re-stir the sample at high speed (600 RPM) before allowing it to remain quiescent for 10 minutes. Repeat the gel measurement as before and report the maximum dial deflection as the 10 minutes gel strength; and
12. After performing the experiment, power cable should be properly removed.

**5 DOCUMENTATION**

1. Past Track Record of at least last two years for rotational viscometer supplied in oil industry that is purchase orders, inspection release notes, user feedback with their communication details etc. shall be provided;
2. Manufacturer's data and descriptive literature for the equipment and materials of construction by ASTM reference and grade, coating(s) etc specifications;
3. Calibration and test report of manufacturer shall be furnished;
4. Installation and operation manual in english language shall be provided along with the supply; and
5. Warranty/Performance Guarantee Certificate shall be furnished.

**ANNEX A**

(Normative)

**ROTATIONAL VISCOMETER-DATA SHEET**

|  |  |  |
| --- | --- | --- |
| **Sl No.** | **Description** | **Details** |
| (1) | (2) | (3) |
|  | Rotor sleeve size and dimension |  |
|  | Bob size and dimension |  |
|  | Torsional spring |  |
|  | Data sheet |  |
|  | Read out | Digital or analog |
|  | Calibration kit |  |
|  | Shear stress range | 0 to 1500 dynes per centimeter square (min.) |
|  | Test speed | 3, 6,100, 200, 300 and 600 rpm |
|  | Calibration fluid | 20 CP, 50 CP, and 100 CP |

**ANNEX B**

(*Foreword*)

**COMMITTEE COMPOSITION**

Method and Equipments for Underground Coal Gasification and

Coal Bed Methane Sectional Committee, MED 37

|  |  |
| --- | --- |
| *Organization* | *Members* |
| Oil and Natural Gas Corporation Limited, New Delhi | Shri Uday Paswan (***Chairperson***) |
| Atlas Copco Construction and Mining Sales, Pune | Shri Animesh Nandy |
| [Bharat Heavy Electrical Limited, New Delhi](javascript:;) | Shri Tirupathi Naidu Chintala |
| [Bharat Heavy Electricals Limited, Project Engineering Management, Noida](javascript:;) | Shri Rajesh Ranjan(*Alternate*)  Shri Saumen Kumar Bhaumik (*Alternate*I)  Shri Pradeep Kumar Sharma (*Alternate*II) |
| [CSIR - Central Institute for Mining and Fuel Research, Dhanbad](javascript:;) | Dr Debadutta Mohanty  Shri Jaywardhan Kumar (*Alternate*) |
| [CSIR - Central Mechanical Engineering Research Institute, Durgapur](javascript:;) | Dr Malay Kumar Karmakar(*Alternate*)  Dr Chanchal Loha (*Alternate*) |
| [Central Electricity Authority, New Delhi](javascript:;) | Shri Sunit Gupta  Shri Asif Iqbal Deputy (*Alternate*) |
| [Central Mine Planning and Design Institute Limited, Ranchi](javascript:;) | Dr Akhilesh Singh |
| [Directorate General of Hydrocarbons, Noida](javascript:;) | Ms. Aarti Gupta  Shri Trilok Nath (*Alternate*) |
| [Directorate General of Mines Safety, Dhanbad](javascript:;) | Shri Saifullah Ansari  Shri A Rajeshwar Rao (*Alternate*) |
| [Essar Oil and Gas Exploration and Production Limited, Durgapur](javascript:;) | Shri Vineet Singhal  Shri Vikram A. Goday (*Alternate*) |
| [GAIL (India) Limited, New Delhi](javascript:;) | Shri Rajesh Bagaria  Shri A. K. Porwal (*Alternate*) |
| [Great Eastern Energy Corporation Limited, Asansol](javascript:;) | Shri Anoop Gupta  Shri Priyaranjan Patra (*Alternate*) |
| [Indian Institute of Technology (ISM), Dhanbad](javascript:;) | Shri R.M. Bhattacharjee  Shri D.P. Mishra (*Alternate*) |
| [Oil and Natural Gas Corporation Limited, New Delhi](javascript:;)S | Shri A K Paswan(*Alternate*)  Shri Shakeel Ahmed (*Alternate*) |
| In Personal Capacity*(Flat no. 3052, “Prestige Shantiniketa, Whitefield main road, Bengaluru)* | Shri R.K. Sharma |
| In Personal Capacity *(D-24, Amar Colony , New Delhi*) | Shri Rudra Pratap Singh |
| BIS Directorate General | Shri K. V. Rao,  Scientist ‘F’/Senior DIRECTOR AND HEAD (Mechanical Engineering)  [Representing General (*Ex-officio*)] |

*Member Secretary*

Shri Aman Dhanawat

Scientist ‘C’/Deputy Director

(Mechanical Engineering), BIS