भारतीय मानक

यांत्रिकीय कम्पन — यांत्रिक कम्पन का मापन एवं मूल्यांकन

भाग 2 : 40  मै.वॉ से अधिक, फ्ल्यूड — फिल्म बेयरिंग एवं 1500 च./मि, 3000 च./मि एवं टरबाइन, स्टेम टरबाइन एवं जेनरेटर

Indian Standard

MECHANICAL VIBRATION — MEASUREMENT AND EVALUATION

OF MACHINE VIBRATION

PART 2 LAND-BASED GAS TURBINES, STEAM TURBINES AND GENERATORS IN EXCESS OF 40 MW, WITH FLUID FILM BEARINGS AND RATED SPEEDS OF               1 500 r/min, 1 800 r/min, 3 000 r/min and 3 600 r/min

ICS 27.040; 17.160; 29.160.40

© BIS 2020

B U R E A U       OF      I N D I A N       S T A N D A R D S

MANAK BHAVAN, 9 BAHADUR SHAH ZAFAR MARG

NEW DELHI 110002

May 2020 								    Price Group

Mechanical Vibration and Shock Condition Monitoring Sectional Committee MED 28

NATIONAL FOREWORD

This Indian Standard (First Revision) which is identical with ISO 20816-2:2017 ‘Mechanical vibration – Measurement and evaluation of machine vibration : Part 2 Land-based gas turbines, steam turbines and generators in excess of 40 MW, with fluid film bearings and rated speeds of 1 500 r/min, 1 800 r/min, 3 000 r/min and 3 600 r/min’ was adopted by the Bureau of Indian Standards on the recommendation of the Mechanical Vibration and Shock Condition Monitoring Sectional Committee and approval of the Mechanical Engineering Division Council.

This standard will supersede IS/ISO 7919 (Part 2):2009 ‘Mechanical Vibration — Evaluation of Machine Vibration by Measurements on Rotating Shafts Part 2 Land-Based Steam Turbines and Generators in Excess of 50 MW with Normal Operating Speeds of 1 500 r/min, 1 800 r/min, 3 000 r/min and 3 600 r/min’ and IS 14817 (Part 2):2017/ISO 10816 (Part 2) : 20092009 ‘Mechanical vibration - Evaluation of machine vibration by measurements on non - rotating parts : Part 2 land - Based steam turbines and generators in excess of 50 mw with normal operating speeds of 1500 R/Min 1 800 R/Min ,3000 R/Min and 3600 R/Min’.

The text of ISO Standard has been approved as suitable for publication as an Indian Standard without deviations.  Certain conventions are, however, not identical to those used in Indian Standards.  Attention is particularly drawn to the following:

- Wherever the words ‘International Standard’ appear referring to this standard, they should be read as ‘Indian Standard’.

- Comma (,) has been used as a decimal marker while in Indian Standards the current practice is to use a point (.) as the decimal marker.

In this adopted standard, reference appears to the certain International Standards, for which Indian Standards also exists.  The corresponding Indian Standards which are to be substituted in their places, are listed below along with their degree of equivalence for the edition indicated:

| International Standard | Corresponding Indian Standard | Degree of Equivalence |
| --- | --- | --- |
| ISO 20816 (Part 1)-2016 Mechanical Vibration- Measurement and evaluation of machine vibration- Part 1: General Guidelines | IS/ISO 20816 (Part 1):2016 Mechanical Vibration — Measurement and Evaluation of Machine Vibration Part 1 General Guidelines | Identical |

For the purpose of deciding whether a particular requirement of this standard is complied with, the final value, observed or calculated, expressing the result of a test or analysis shall be rounded off in accordance with IS 2:1960 ‘Rules for rounding off numerical values (revised)’.  The number of significant places retained in the rounded off value should be the same as that of the specified value in this standard.