***भारतीय मानक*  IS 228 (Part 7) : 2024**

***Indian Standard***

**इस्पात के रासायनिक विश्लेषण की विधि**

भाग 7 अल्फा बेन्ज़ाइनोक्सिम पद्धति द्वारा मॉलिब्डेनम ज्ञात करना

(मॉलिब्डेनम के लिए > 1 प्रतिशत और टंगस्टन रहित)

*(चौथा पुनरीक्षण )*

**Method of Chemical Analysis of Steels**

**PART 7 DETERMINATION OF MOLYBDENUM BY ALPHA-BENZOINOXIME METHOD IN ALLOY STEELS**

**(FOR MOLYBDENUM > 1 PERCENT AND NOT**

 **CONTAINING TUNGSTEN)**

*( Fourth Revision )*

ICS 77.080.20

© BIS 2024

भारतीय मानक ब्यूरो

BUREAU OF INDIAN STANDARDS

मानक भवन, 9 बहादुर शाह ज़फर मार्ग, नई दिल्ली - 110002

MANAK BHAVAN, 9 BAHADUR SHAH ZAFAR MARG

NEW DELHI - 110002

www.bis.gov.in www.standardsbis.in

 **August2024 Price Group**

Methods of Chemical Analysis of Metals Sectional Committee, MTD 34

FOREWORD

This draft Indian Standard (Part 7) (Fourth Revision) subject to its finalization, is to be adopted by the Bureau of Indian Standards on recommendation of the Methods of Chemical analysis of Metals Sectional Committee and approval of the Metallurgical Engineering Division Council.

This standard was first published in 1952 and subsequently revised in 1959, 1974 and 1990. This revision has been brought out to bring the standard in the latest style and format of the Indian Standards.

This part covers method for the determination of molybdenum by alpha-benzoinoxime method in alloy steels (for molybdenum > 1 percent and not containing tungsten). The other parts of this series are:

|  |  |
| --- | --- |
| Part 1 | Determination of carbon by volumetric method (for carbon 0.05 to 2.50 percent)  |
| Part 2 | Determination of manganese in plain carbon and low alloy steels by arsenite method  |
| Part 3 | Determination of phosphorus by alkalimetric method  |
| Part 4 | Determination of total carbon by gravimetric method (for carbon greater than or equal to 0.1 percent)  |
| Part 5 | Determination of nickel by dimethyl glyoxime (gravimetric) method (for nickel greater than or equal to 0.1 percent)  |
| Part 6 | Determination of chromium by persulphate oxidation method (for chromium ≥ 0.1 percent )  |
| Part 8 | Determination of silicon by gravimetric method (for silicon 0.05 to 5.00 percent)  |
| Part 9 | Determination of sulphur in plain carbon steels by evolution method (for sulphur 0.01 to 0.25 percent)  |
| Part 10 | Determination of molybdenum by thiocyanate (photometric) method in low and high alloy steels (for molybdenum 0.01 to 1.5 percent)  |
| Part 11 | Determination of silicon by reduced molybdosilicate spectrophotometric method in carbon steels and low alloy steels (for silicon 0.01 to 0.05 percent)  |
| Part 12 | Determination of manganese by periodate spectrophotometric method in plain carbon, low alloy and high alloy steels (for manganese 0.01 to 5.0 percent)  |
| Part 13 | Determination of arsenic |
| Part 14 | Determination of carbon by thermal conductivity method (for carbon 0.005 to 2.000 percent) |
| Part 15 | Determination of copper by thiosulphate iodide method (for copper 0.05 to 5 percent)  |
| Part 16 | Determination of tungsten by spectrophotometric method (for tungsten 0.1 to 2 percent)  |
| Part 17 | Determination of nitrogen by thermal conductivity method  |
| Part 18 | Determination of oxygen by instrumental method |
| Part 19 | Determination of nitrogen by steam distillation  |
| Part 20 | Determination of carbon and sulphur by infrared absorption method  |
| Part 21 | Determination of copper by spectrometric method (for copper 0.02 to 0.5 percent)  |
| Part 22 | Determination of total hydrogen in steel by thermal conductivity method (hydrogen 0.1 ppm to 50 ppm) |
| Part 23 | Determination of total nitrogen in steel by optical emission spectrometer (nitrogen 0.002 to 1.0 percent) |
| Part 24 | Determination of nitrogen in steel by inert gas fusion – Thermal conductivity method (nitrogen 0.001 to 0.2 percent) |

In reporting the result of a test or analysis made in accordance with this standard, is to be rounded off, it shall be done in accordance with IS 2 : 2022 ‘Rules for rounding off numerical values (*second revision*)’. The number of significant places retained in the rounded off value should be same as that of the specified value in this standard.

*Indian Standard*

METHODS FOR CHEMICAL ANALYSIS OF STEELS

**PART 7 DETERMINATION OF MOLYBDENUM BY ALPHA-BENZOINOXIME METHOD IN ALLOY STEELS (FOR MOLYBDENUM > 1 PERCENT AND NOT CONTAINING TUNGSTEN)**

 *( Fourth Revision )*

**1 SCOPE**

This standard (Part 7) covers the alpha-benzoinoxime method for determination of molybdenum content in low alloy and high alloy steels containing molybdenum above 1 percent and no tungsten.

**2 REFERENCES**

The following Indian Standards contain provisions, which through reference in this text, constitute provision of this standard. At the time of the publication, the editions indicated below were valid. All the standards are subject to revision, and parties to agreement based on this standard are encouraged to investigate the possibility of applying the most recent editions of these standards indicated below:

|  |  |
| --- | --- |
| *IS No.* | *Title* |
| IS 264 : 2005 | Nitric acid – Specification (*third revision*) |
| IS 265 : 2021 | Hydrochloric acid – Specification (*fifth revision*) |

**3 SAMPLING**

The samples shall be drawn and prepared as prescribed in the relevant Indian Standards.

**4 QUALITY OF REAGENTS**

Unless specified otherwise analytical grade reagents and distilled water shall be employed in the test.

**5 DETERMINATION OF MOLYBDENUM BY ALPHA-BENZOINOXIME METHOD**

**5.1 Outline of the Method**

Molybdenum is precipitated with alpha-benzoinoxime, and the precipitate is ignited at 500 ºC -525 ºC and weighed as MoO3.

**5.2 Reagents**

**5.2.1** *Dilute Sulphuric Acid,* 1:1, 1:4 and 1:6 (*v/v*).

**5.2.2** *Concentrated Nitric Acid,* rd = 1.42 (conforming to IS 264).

**5.2.3** *Hydrofluoric Acid,* 40 percent.

**5.2.4** *Boric Acid Solution,* 4 percent.

**5.2.5** *Potassium Bisulphite,* Solid.

**5.2.6** *Ferrous Sulphate Solution,* 5 percent.

Dissolve 5 g of ferrous sulphate in water containing 5 ml of sulphuric acid and dilute to 100 ml.

**5.2.7** *Alpha-Benzoinoxime Solution,* 2 percent

Dissolve 2 g of alpha-benzoinoxime in 100 ml of ethanol. Filter the solution is not clear.

**5.2.8** *Bromine Water*

Saturate 100 ml of water with bromine, adding 1 to 2 ml of bromine at a time till few drops of it remains undissolved.

**5.2.9** *Sulphuric Acid-Benzoinoxime Wash Solution*

To 1 litre of dilute sulphuric acid (1:99), add 5 ml of alpha-benzoinoxime solution (2 percent).

**5.2.10** *Dilute Ammonium Hydroxide Solution,* 1:1 and 1:99 (*v/v*).

**5.2.11** *Concentrated Hydrochloric Acid*, rd = 1.16 (conforming to IS 265).

**5.2.12** *Dilute Hydrochloric Acid*, 1:1 and 1:50 (*v/v*).

**5.2.13** *Tartaric Acid*, solid.

**5.2.14** *Hydrogen Sulphide*, gas.

**5.2.15** *Hydrogen Sulphide Wash Solution*

Saturate dilute sulphuric acid (1:99) with hydrogen sulphide.

**5.2.16** *Cinchonine Solution*

Dissolve 10 g cinchonine hydrochloride in 100 ml of dilute hydrochloric acid (1:1).

**5.2.17** *Cinchonine Wash Solution*

Dilute 30 ml of cinchonine solution to 1 litre with water.

**5.3 Procedure**

**5.3.1** Dissolve 1.00 to 3.00 g of sample in 50 ml dilute sulphuric acid (1:6) in a 400 ml beaker and warm till the reaction ceases. Add drop by drop concentrated nitric acid to decompose carbides and to oxidize iron and molybdenum. Boil to expel the nitrous fumes. Add 2 to 4 drops of hydrofluoric acid and allow to react. Add 10 ml of boric acid solution. Boil for few minutes. Dilute to 100 ml. Filter and wash with hot dilute hydrochloric acid (1:99). Ignite the filter paper at low temperature (below 500 ºC), fuse with potassium bisulphite and dissolve in water. Add to the filtrate.

**5.3.2** Dilute to 100 ml. Cool to about 10ºC. Add 10 ml of ferrous sulphate solution. Add a few pieces of ashless paper pulp and stir, and add slowly 10 ml of alpha-benzoinoxime solution with constant stirring. (Add 5 ml more for each 0.01 g of molybdenum, followed by the addition of sufficient bromine water to impart a pale yellow colour to the solution and finally 3 to 4 ml more of the reagent). Allow the solution to remain in the cooling mixture for 10 minutes, while stirring occasionally. Filter through a medium textured ashless filter paper. If the filtrate is not clear, filter through the same filter paper. Wash six to seven times with cold sulphuric acid-benzoinoxime solution.

**5.3.3** Transfer the precipitate and paper to a weighed platinum crucible, dry and ignite at 500-525ºC to constant mass and weigh (A). Dissolve the oxide in 5 to 10 ml of dilute ammonium hydroxide solution (1:1), digest and wash the residue with hot dilute ammonium hydroxide solution (1:99). Ignite the residue in the same platinum crucible and weigh (B). The difference of weight (A - B) represents the weight of MoO3

**5.3.4** If the ammonical filtrate is blue in colour, indicating the presence of copper; estimate copper by diethyl dithiocarbamate-spectrophotometric method.

**5.3.5** *For Tungsten Steel*

**5.3.5.1** Take 1.00 g of the sample and add 10 ml of concentrated hydrochloric acid. Heat till reaction subsides. Add concentrated nitric acid in small quantity and digest till bright yellow precipitate of tungstic oxide is formed. Evaporate to syrupy consistency. Repeat the evaporation’ once more with 5 ml of concentrated hydrochloric acid. Add 5 ml of concentrated hydrochloric acid and dilute to 100 ml. Boil for one or two minutes and allow to settle for 15 minutes. Filter through a paper pad and wash the residue thoroughly with dilute hydrochloric acid (1:50) and twice with hot water. Reserve the filtrate and washings (F1).

**5.3.5.2** Digest the precipitate (**5.3.5.1**) with 30 ml of dilute ammonium hydroxide solution (1:1), filter and wash with dilute ammonium hydroxide (1:99). Add 5 g of tartaric acid to the filtrate. Neutralize the solution with dilute hydrochloric acid (1:1) and add about 10 ml of concentrated hydrochloric acid. Dilute to 100 ml and warm: Pass the hydrogen sulphide gas under pressure. Filter and wash with hydrogen sulphide wash solution. Discard the filtrate. Ignite the residue at 500 °C -525 °C. Cool and dissolve in 20 ml of dilute ammonium hydroxide solution (1:1) and filter. Mix the filtrate with the filtrate F1 obtained in **5.3.5.1**. Dilute the combined filtrate to 200 ml and follow the procedure as specified in **5.3.2** and **5.3.3**.

**5.3.6** *For High Silicon Steel*

**5.3.6.1** Take 1.00 g of the sample, add 10 ml of concentrated hydrochloric acid and a few drops of concentrated nitric acid dropwise. Evaporate to syrupy consistency. To further dehydrate, add 5 ml of concentrated hydrochloric acid, evaporate and bake. Cool and add 5 ml of concentrated hydrochloric acid and dilute to 100 ml. Boil for one or two minutes and allow to settle for 15 minutes. Filter through a filter pad and wash the residue thoroughly with dilute hydrochloric acid (1:50) and then twice with shot water. Reserve the filtrate and washing (F2).

**5.3.6.2** Ignite the residue in a platinum crucible at a temperature 500-525 ºC. Cool and add 2 ml of dilute sulphuric acid (1:4) and 2 ml of hydrofluoric acid. Evaporate to fumes and add another 2 ml of hydrofluoric acid and evaporate again. Cool, dilute with water, warm again and filter through filter pad. Add this filtrate to the filtrate F2 obtained in **5.3.6.1**. Dilute the combined filtrate to 200 ml and follow the procedure as specified in **5.3.2** and **5.3.3**.

**6 CALCULATION**

**6.1** Calculate the molybdenum content as follows:

 Molybdenum, percent by mass = $\frac{\left(A - B\right) × 66.7}{C}$

where

 *A - B*  = mass, in g, of molybdenum oxide obtained under **5.3.3**, and

 *C* = mass, in g, of the sample taken for the test

**ANNEX A**

(*Foreword*)

**COMMITTEE COMPOSITION**

Methods of Chemical Analysis of Metals Sectional Committee, MTD 34

| *Organization* |  | *Representative(s)* |
| --- | --- | --- |
| CSIR - National Metallurgical Laboratory, Jamshedpur |  | Dr Sanchita Chakravarty **(*Chairperson*)** |
| Arcelor Mittal Nippon Steel, Mumbai |  | Shri Manoj Gupta |
|  Shri Kirit Tailor (*Alternate*) |
| Bhabha Atomic Research Centre, Mumbai |  | Ms Sanjukta A. Kumar |
|  | Shri M. V. Rana (*Alternate*) |
| CSIR - National Metallurgical Laboratory, Jamshedpur |  | Dr Ashok K. Mohanty (*Alternate*) |
| Defence Metallurgical Research Laboratory, Ministry of Defence, Hyderabad |  | Shri S. S. Kalyan Kamal |
| Directorate General of Quality Assurance, Ministry of Defence, New Delhi |  | Shri A Mitra |
|  | Shri D. Kartikey (*Alternate*) |
| Geological Survey of India, New Delhi |  | Shri Nitin Purushottam |
|  |  Smt. Sanjukta Dey Pal (*Alternate*) |
| Hindalco Industries Limited, Mumbai |  | Shri Krishanu Mahapatra |
|  | Shri Ashutosh Acharya (*Alternate*) |
| Indian Metals and Ferro Alloys Limited, Bhubaneswar |  | Shri Dinesh Kumar Mohanty |
| JSW Steel Limited, Mumbai |  | Shri Kotrabasavaraju |
|  | Shri Marulasiddesha U. M. (*Alternate*) |
| Jawaharlal Nehru Aluminium Research Development and Design Centre, Nagpur |  |
|  | Dr Upendra Singh  |
| National Aluminium Company Limited, Bhubaneswar |  | Smt Sukla Nandi |
|  | Shri Debananda Bhattacharyya (*Alternate*) |
| National Test House, Kolkata |  | Dr Rajeev Kumar Upadhyay |
|  | Shri Akbar H. (*Alternate*) |
| Shriram Institute for Industrial Research, Delhi |  | Shri Dr Laxmi Rawat |
|  | Shri Puneet Kapoor (*Alternate*) |
| Steel Authority of India Limited - Salem Steel Plant, Salem |  | Shri L. Sivakumar |
|  | Shri Vivekanandhan G. (*Alternate*) |
| Tata Steel Limited, Kolkata |  | Shri Dr Jatin Mohapatra |
|  |  Dr Ravikrishna Chatti (*Alternate*) |
| BIS Directorate General |  | Shri Sanjiv Maini, Scientist ‘F’/Senior Director and Head (Metallurgical Engineering) [Representing Director General (*Ex-officio*)] |

*Member Secretary*

Shri Ashish Prabhakar Wakle

Scientist ‘C’/Deputy Director

(Metallurgical Engineering), BIS