**IS 13418 : 2024**

 ***भारतीय मानक***

 ***Indian Standard***

|  |
| --- |
|  |

 ***नदी घाटी परियोजनाओं में ग्राउटिंग की इकाई दर के विश्लेषण के लिए प्रोफार्मा***

*(* पहला *पुनरीक्षण )*

**Proforma for Analysis of Unit Rate of Grouting in River Valley Projects**

*( First Revision )*

 ICS 93.160

 @ BIS 2024



 भारतीय मानक ब्यूरो

 BUREAU OF INDIAN STANDARDS

 मानक भवन, 9 बहादुर शाह

 ज़फर मार्ग, नई दिल्ली - 110002

 MANAK BHAVAN, 9 BAHADUR SHAH ZAFAR MARG

NEW DELHI - 110002

[www.bis.gov.in](http://www.bis.org.in) [www.standardsbis.in](http://www.standardsbis.in)

 **October 2024 Price Group X**

Measurement and Cost Analysis of Works for River Valley Projects Sectional Committee, WRD 23

FOREWORD

The Indian Standard (First Revision) was adopted by the Bureau of Indian Standards after the draft was finalized by the Measurement and Cost Analysis of Works for River Valley Projects Sectional Committee and had been approved by the Water Resources Division Council.

Grouting is the process of injecting mixtures of cement slurry or other suitable materials into confined and inaccessible spaces (cracks and crevices) so that the whole formation may act as a monolithic mass to withstand the high pressures and loads to which it may be subjected. Grout materials include cement and sand, clay-cement, slag-cement, resin gypsum-cement, clays, asphalt, pulmen seal, fuel ash and a large number of other colloidal and low viscosity chemicals.

During construction, proper grouting can control ground water flow, prevent loose sand densification below adjacent structures due to pile driving and increase stability of granular soil below existing structures so as to reduce the need for lateral support. Grouting is extensively used in construction of river valley projects. As such projects are being executed all over the country, it is essential that practices relating to estimation of grouting cost are harmonized and uniform. This standard was formulated to lay down a proforma for analyzing unit rate for grouting so that a uniform approach is followed across different river valley projects.

This standard was first published in 1992. The first revision of this standard has been brought out to bring the standard in sync with the latest field practices observed while using the standard and to bring it in the latest style and format of the Indian Standards. The major changes incorporated in this revision of the standard are:

1. Relevant taxes and duties, wherever applicable, have been added in calculation of unit rates; and
2. Provisions for contractor’s overheads and profits have been indicated.

The composition of the Committee responsible for formulation of this standard is given in Annex A.

For the purpose of deciding whether a particular requirement of this standard is complied with, the final value, observed or calculated, expressing the result of a test, shall be rounded off in accordance with IS 2 : 2022 'Rounding off numerical values (*second revision*)'. The number of significant places retained in the rounded-off value should be the same as that of the specified value in this standard.

**IS 13418 : 2024**

*Indian Standard*

PROFORMA FOR ANALYSIS OF UNIT RATE OF GROUTING IN RIVER VALLEY PROJECTS

 *( First Revision )*

##  1 SCOPE

##

This standard lays down proforma for analysis of unit rate of cement grouting with or without additives for use in river valley projects.

NOTE — The standard should be read in adjunct with IS 11590.

#### **2 REFERENCES**

The standards listed given below contain provisions, which through reference in this text constitute provisions of this standard. At the time of publication, the editions indicated were valid. All standards are subject to revision, and parties to agreements based on this standard are encouraged to investigate the possibility of applying the most recent editions of the standards indicated below:

|  |  |
| --- | --- |
| *IS No.* | *Title* |
|  IS 11590 : 1995 | Guidelines for working out unit rate cost of the construction equipment used for river valley projects (*first revision*) |

## 3 PROFORMA

The rate of grouting will involve two components, that is, drilling rate per metre of hole and grouting rate per kg of cement. The proformae are therefore given in Tables 1 and 2. For evaluating unit rate of construction equipment, references should be made to IS 11590.

## Table 1 Proforma for Analysis of Unit Rate of Drilling for Grouting

(*Clause* 3.1)

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Sl. No.** |  | **Item** | **Unit** | **Quantity** | **Rate** | **Amount** | **Remarks** |
| (1) |  | (2) | (3) | (4) | (5) | (6) | (7) |
| i) | *Drilling of Holes* : |  |  |  |  |  |
|  | a) | Machinery and equipment excluding air | h |  |  |  |  |
|  | b) | Compressed air | h |  |  |  |  |
|  | c) | Drill bits and drilling accessories | h |  |  |  |  |
|  | d) | Other materials |  |  |  |  |  |
| ii) | *Labour* : | man hours |  |  |  |  |
| iii) | *Overheads and Miscellaneous\** : |  |  |  |  |  |
|  | a) | Water supply, lighting, sanitary and drainage | lump sum |  |  |  |  |
|  | b) | Temporary construction | lump sum |  |  |  |  |
|  | c) | Testing and supervision | lump sum |  |  |  |  |
|  | d) | Carriage and freight of machinery | lump sum |  |  |  |  |
|  | e) | Hidden cost of labour | lump sum |  |  |  |  |
|  |  f) | Contingencies | lump sum |  |  |  |  |
| iv) | *Taxes and Duties* :1. Tax on works
2. Services tax
3. Labour Cess
4. VAT
5. Entry tax
 |  |  |  |  |  |
| v) | *Analysis* : |  |  |  |  |  |

|  |  |
| --- | --- |
| a) | Total cost of drilling $\left(C\_{d}\right)$ = Cost of drilling of holes + Cost of labour + Cost of overheads and miscellaneous + Taxes and duties |
| b) | Total length of holes = $L$ |  |  |  |  |  |
| c) |   Cost of drilling/m drilled = $\frac{C\_{d}}{L}$ |  |  |  |  |  |
| NOTE: **1** Contractors overheads and profit may be decided suitably in the project. |

## Table 2 Proforma for Analysis of Unit Rate-of Grouting Per Kg of Cement

(*Clause* 3.1)

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Sl. No.** |  | **Item** | **Unit** | **Quantity** | **Rate** | **Amount** | **Remarks** |
| (1) |  | (2) | (3) | (4) | (5) | (6) | (7) |
|  |  *Grouting Equipment*: 1. Grout mixer
2. Grout pump and accessories
3. Compressed air
 | hhh  |  |  |  |  |
|  |  *Cost of Grout Materials*:1. Cement
2. Sand
3. Additives
4. Water
 | KgKgKgkg |  |  |  |  |
|  |  *Washing and Testing of Holes:* *Water pump and/or compressed air charges* 1. Washing the holes
2. Testing of holes
 | h |  |  |  |  |
|  |  *Labour*:  | Man hours  |  |  |  |  |
|  |  Overheads and miscellaneous:1. Water supply, lighting sanitary and drainage
2. Temporary construction
3. Testing and supervision
4. Carriage and freight of machinery
5. Hidden cost of labour
6. Contingencies
 | LumpsumLumpsumLumpsumLumpsumLumpsumLumpsum |  |  |  |  |
|  |  *Taxes and Duties*:1. Sales tax on works
2. Services tax
3. Labour cess
4. VAT
5. Entry tax
 |  |  |  |  |  |
|  |  *Analysis*:1. Total cost of grouting (Cg) = Cost of grouting equipment + Cost of grouting materials + Cost for washing and testing of holes + Cost of labour + Cost of overheads and miscellaneous + Taxes and duties
2. Total quantity of cement used (w)
3. Cost of grouting/kg of cement
 | CgKgCg/w |  |  |  |  |
|  NOTE:  **1** Separate rate analysis should be worked out for any change in grout mix or type of grouting. **2** Contractors overheads and profit may be decided suitably in the project. |

**ANNEX A**

(*Foreword*)

**COMMITTEE COMPOSITION**

Measurement and Cost Analysis of Works for River

Valley Projects Sectional Committee, WRD 23

|  |  |
| --- | --- |
|  *Organization*  |  *Representative(s)* |
| National Hydroelectric Power Corporation, Faridabad | Executive DirectorShri Nadeem Hasan (***Chairperson***) |
| Bhakra Beas Management Board, Chandigarh | Shri Rajesh Gupta  |
| Central Electricity Authority, New Delhi | Shri Shivcharan Chhirolia Shri Bharat Gupta (*Alternate*)  |
| Central Water Commission, New Delhi | Shri Kiran Pramanik Shri Ajay Shivlal Banode (*Alternate*)  |
| Energy Infratech Private Limited, Gurugram | Shri Manoj Kumar Gupta Shri Pramod Chand Tewari (*Alternate* I)Shri Sudheer Kumar Singh (*Alternate* II)  |
| Ferro Concrete Construction (India) Private Limited, Indore | Dr. Mahavir Bidasaria Shri Anupam Bidasaria (*Alternate*) |
| Indian Institute of Technology, Roorkee | Prof Gopal Chauhan   |
| Irrigation Department, Govt. of Kerala, Thiruvananthapuram | Shri K. A Joshy |
| Irrigation Research Institute, Roorkee | Shri Dinesh ChandraShri Shankar Kumar Saha (*Alternate*) |
| Karnataka Power Corporation Limited, Bangaluru | Shri Chinnasomaiah |
| Larsen & Toubro Construction India Ltd., New Delhi | Shri Sanjay PajniShri Sravan Kumar Meghavarupu (*Alternate*)  |
| National Hydroelectric Power Corporation, Faridabad | Ms Swati GargMs Renu Bhadrasen (*Alternate* I) Shri Anil Singh Bhandari (*Alternate* II)  |
| National Thermal Power Corporation Limited, Noida | Shri Shailendra Kumar PandeyShri Jagat Singh Yadav (*Alternate*) |
| Sardar Sarovar Narmada Nigam Limited, Gandhinagar | Shri K B ParmarShri V. K. Gupta (*Alternate*)  |
| Satluj Jal Vidyut Nigam Limited, Shimla | Shri M. C. Verma |
| Tehri Hydro Development Corporation India Ltd., Rishikesh | Shri J. S. RawatShri Atul Kumar Singh (*Alternate*) |
| Water and Power Consultancy Services Limited, New Delhi | Shri Anupam MishraShri Amitabh Tripathi (*Alternate*) |
| Water Resources Department, Govt of Madhya Pradesh, Bhopal | Chief Engineer, Bodhi |
| Water Resources Department, Govt of Punjab | Chief Engineer Design |
| Water Resources Development Organization, Bangalore | Shri Satish M |
| In Personal Capacity *(Flat No-207, Bhagirathi**Apartment, B-9/14, Sector-62, Noida)* | Shri H. L. Arora |
| BIS Directorate General | Shri Dushyant Prajapati, Scientist ‘E’/Director AND Head (Water Resources) [Representing Director General (*Ex-Officio*)] |

*Member Secretary*

Shri Vaibhav Yadav

Scientist ‘B’/Assistant Director

 (Water Resources), BIS