***भारतीयमानक***

***Indian Standard***

 **IS/IEC 60947-7-1: 2009**

 **निम्न-वोल्टता के स्विचगियर और**

 **नियंत्रण गियर**

**भाग 7 सहायक उपकरण**

 **अनुभाग 1 तांबे के कंडक्टरों के लिए**

 **टर्मिनल ब्लॉक**

**Low-voltage switchgear and controlgear**

**Part 7 Ancillary equipment**

**Section 1 Terminal blocks for copper conductors**

© BIS 2024

© IEC 2009

 

भारतीय मानक ब्यूरो

BUREAU OF INDIAN STANDARDS

मानक भवन, 9 बहादुर शाह ज़फर मार्ग, नई दिल्ली - 110002

MANAK BHAVAN, 9 BAHADUR SHAH ZAFAR MARG

NEW DELHI - 110002

www.bis.gov.in www.standardsbis.in

**May 2024 Price Group X**

Low Voltage Switchgear and Controlgear Sectional Committee, ETD 07

NATIONAL FOREWORD

This Indian Standard which is identical with IEC 60947-7-1: 2009 “Low-voltage switchgear and controlgear – Part 7-1: Ancillary equipment – Terminal blocks for copper conductors” issued by the International Electrotechnical Commission (IEC) was adopted by the Bureau of Indian Standards on the recommendation of the Low Voltage Switchgear and Controlgear Sectional Committee and approval of the Electrotechnical Division Council.

The text of IEC Standard has been approved as suitable for publication as an Indian Standard without deviations. Certain terminologies and conventions are, however, not identical to those used in Indian Standards. Attention is particularly drawn to the following:

1. Wherever the words ‘International Standard’ appear referring to this standard, they should be read as ‘Indian Standard’.
2. Comma (,) has been used as a decimal marker, while in Indian Standards the current practice is to use a point (.) as the decimal marker.

In this adopted standard, reference appears to International Standards for which Indian Standards also exists. The corresponding Indian Standards, which are to be substituted, are listed below along with their degree of equivalence for the editions indicated:

|  |  |  |
| --- | --- | --- |
| *International Standard* | *Corresponding Indian Standard* | *Degree of Equivalence* |
| IEC 60695-11-5:2004, Fire hazard testing – Part 11-5: Test flames – Needle-flame test method – Apparatus, confirmatory test arrangement and guidance | IS/IEC 60695-11-5 : 2016Fire Hazard Testing Part 11 Test Flames Section 5 Needle - Flame test method - Apparatus, confirmatory test arrangement and guidance ( *First Revision* ) | Identical to IEC 60695-11-5 : 2016 |
| IEC 60947-1:2007, Low-voltage switchgear and controlgear – Part 1: General rules | IS/IEC 60947-1 : 2020 Low-Voltage Switchgear And Controlgear Part 1 General Rules | Identical to IEC 60947-1 : 2020 |

The technical committee has reviewed the provisions of the following international standards referred in this adopted standard and decided that they are acceptable for use in conjunction with this standard.

|  |  |
| --- | --- |
| *International Standard* | *Title* |
| ISO 4046-4:2002 | Paper, board, pulp and related terms − Vocabulary – Part 4: Paper and board grades and coverted products |

Only the English language text has been retained while adopting it in this Indian Standard, and as such, the page numbers given here are not the same as in the IEC Publication.

For the purpose of deciding whether a particular requirement of this standard is complied with the final value, observed or calculated expressing the result of a test or analysis shall be rounded off in accordance with IS 2: 2022 ‘Rules for rounding of numerical values (*second revision*)’. The number of significant places retained in the rounded off value should be the same as that of the specified value in this standard.