***भारतीय मानक***

***Indian Standard***

**IS XXX**

**IEC 61800-5-1 : 2022**

***समायोज्य चाल विद्युतीय पावर ड्राइव***

***प्रणाली***

***भाग 5 संरक्षा अपेक्षाएं***

***अनुभाग 1 विद्युत, उष्मीय एवं ऊर्जा***

***(* पहला पुनरीक्षण )**

**Adjustable Speed Electrical Power Drive Systems**

**Part 5 Safety Requirements**

**Section 1 Electrical Thermal and Energy**

( *First Revision )*

ICS 29.130.99; 29.200; 13.110

© BIS 2024

© IEC 2022



भारतीय मानक ब्यूरो

BUREAU OF INDIAN STANDARDS

मानक भवन, 9 बहादुर शाह ज़फर मार्ग, नई दिल्ली - 110002

MANAK BHAVAN, 9 BAHADUR SHAH ZAFAR MARG

NEW DELHI - 110002

[www.bis.gov.in](http://www.bis.org.in) [www.standardsbis.in](http://www.standardsbis.in)

**October 2024 Price Group X**

Power Electronics Sectional Committee, ETD 31

NATIONAL FOREWORD

This Indian Standard (Part 5/Sec 1) (First Revision) which is identical with IEC 61800-5-1: 2022 ‘Adjustable speed electrical power drive systems – Part 5-1: Safety requirements – Electrical, thermal and energy’ Issued By The International Electrotechnical Commission (IEC) is proposed to be adopted by the Bureau of Indian Standards on the recommendation of the Power Electronics Sectional Committee and approval of the Electrotechnical Division Council.

This standard was originally published in 2016. The first revision of this standard has been undertaken to align it with the latest version of IEC 61800-5-1: 2022.

This standard is published in various parts. Other parts in this series are:

|  |  |
| --- | --- |
| Part 1 | General requirements — Rating specifications for low voltage adjustable speed d.c. power drive systems |
| Part 6 | Guide for determination of types of load duty and corresponding current ratings |

The text of the IEC Standard has been approved as suitable for publication as an Indian Standard without deviations. Certain conventions are, however, not identical to those used in Indian Standards. Attention is particularly drawn to the following:

1. Wherever the words ‘International Standard’ appears referring to this standard, they should be read as ‘Indian Standard’.
2. Comma (,) has been used as a decimal marker, while in Indian Standards the current practice is to use a point (.) as the decimal marker.

In this adopted standard, reference appears to International Standards for which Indian Standards also exists. The corresponding Indian Standards, which are to be substituted, are listed below along with their degree of equivalence for the editions indicated:

|  |  |  |
| --- | --- | --- |
| *International Standard* | *Corresponding Indian Standard* | *Degree of Equivalence* |
| IEC 60034 (all parts), Rotating electrical machines | IS/IEC 60034 Series Rotating electrical machines | Identical |
| IEC 60034-1:2022, Rotating electrical machines – Part 1: Rating and performance | IS 15999 (Part 1) : 2021 IEC 60034-1: 2017 Rotating electrical machines - Part 1 : Rating and performance | Identical |
| IEC 60034-5:2020, Rotating electrical machines – Part 5: Degrees of protection provided by the integral design of rotating electrical machines (IP code) – Classification | IS/IEC 60034-5 : 2000 Rotating electrical machines: Part 5 degrees of protection provided by the integral design of rotating electrical machines (IP Code) - Classification | Identical |
| IEC 60050-131, International Electrotechnical Vocabulary (IEV) – Part 131: Circuit theory | IS 1885 (Part 57) : 2008/ IEC 60050-131 :2002 Electrotechnical vocabulary: Part 57 circuit theory *(Second Revision)* |  |
| IEC 60050-151, International Electrotechnical Vocabulary (IEV) – Part 151: Electrical and magnetic devices | IS 1885 (Part 74) : 2012/ IEC 60050-151 : 2001 Electrotechnical vocabulary: Part 74 electrical and magnetic devices (First Revision) | Identical |
| IEC 60050-161, International Electrotechnical Vocabulary (IEV) – Part 161: Electromagnetic compatibility | IS 1885 (Part 85) : 2003/ IEC 60050-161 : 1990 Electrotechnical vocabulary: Part 85 electromagnetic compatibility | Identical |
| IEC 60050-192, International Electrotechnical Vocabulary (IEV) – Part 192: Dependability | IS 1885 (Part 192) : 2021/ IEC 60050-192: 2015 Electrotechnical Vocabulary Part 192 Dependability | Identical |
| IEC 60050-426, International Electrotechnical Vocabulary (IEV) – Part 426: Explosive atmospheres | IS 1885 (Part 60) : 2022/ IEC 60050: 426 Electrotechnical Vocabulary: Part 60 Equipment for Explosive Atmospheres *(Second Revision)* | Identical |
| IEC 60050-441, International Electrotechnical Vocabulary (IEV) – Part 441: Switchgear, controlgear and fuses | IS 1885 (Part 17) : 2024/ IEC 60050-441: 1984 Electrotechnical Vocabulary Part 17 Switchgear and Control Gear (Second Revision) | Identical |
| IEC 60050-551, International Electrotechnical Vocabulary (IEV) – Part 551: Power electronics | IS 1885 (Part 27) : 2008/ IEC 60050-551:1998 Electrotechnical vocabulary: Part 27 power electronics (Third Revision) | Identical |
| IEC 60050-601, International Electrotechnical Vocabulary (IEV) – Part 601: Generation, transmission and distribution of electricity – General | IS 1885 (Part 30) : 2023/ IEC 60050-601: 1985 Electrotechnical Vocabulary: Part 30 Overhead transmission and distribution of electrical energy | Identical |
| IEC 60068-2-1:2007, Environmental testing – Part 2-1: Tests – Test A: Cold | IS/IEC 60068-2-1) : 2007 Environmental Testing Part 2 Tests Section 1 Test A: Cold | Identical |
| IEC 60068-2-2:2007, Environmental testing – Part 2-2: Tests – Test B: Dry heat | IS/IEC 60068-2-2) : 2007 Environmental Testing Part 2: Tests - Test B Section 2: Dry Heat | Identical |
| IEC 60068-2-6:2007, Environmental testing – Part 2-6: Tests – Test Fc: Vibration (sinusoidal) | IS/IEC 60068-2-6 : 2007 Environmental Testing Part 2 Tests Section 6 Test Fc: Vibration sinusoidal | Identical |
| IEC 60068-2-30:2005, Environmental testing – Part 2-30: Tests – Test Db: Damp heat, cyclic (12 h + 12 h cycle) | IS/IEC 60068-2-30) : 2005 Environmental testing Part 2 Tests Section 30 Test Db: Damp heat cyclic 12 h 12 h cycle | Identical |
| IEC 60068-2-68:1994, Environmental testing – Part 2-68: Tests – Test L: Dust and sand | IS/IEC 60068-2-68) : 1994 Environmental testing Part 2: Tests Section 68 Test L: Dust and sand | Identical |
| IEC 60068-2-78:2012, Environmental testing – Part 2-78: Tests – Test Cab: Damp heat, steady state | IS 9000 (Part 4) : 2020/ IEC 60068-2-78 : 2012 Environmental Testing Part 4 Tests - Test Cab: Damp Heat, Steady State *(Second Revision )* | Identical |
| IEC 60204-11:2018, Safety of machinery – Electrical equipment of machines – Part 11: Requirements for equipment for voltages above 1 000 V AC or 1 500 V DC and not exceeding 36 kV | IS 16504 (Part 11) : 2020/ IEC 60204-11 : 2018 Safety of Machinery - Electrical Equipment of Machines Part 11 Requirements for Equipment for Voltages above 1 000 V AC or 1 500 V DC and not Exceeding 36 kV | Identical |
| IEC 60320 (all parts), Appliance couplers for household and similar general purposes | IS/IEC 60320 (Series)  Appliance couplers for household and similar general purposes | Identical |
| IEC 60364 (all parts), Low-voltage electrical installations | IS 16996 : 2018/ IEC 60364-8-1 : 2014 Low-Voltage Electrical Installations - Energy Efficiency |  |
| IS 16997 : 2018/ IEC 60364-7-712 Requirements for Low-Voltage Special Electrical Installations or Locations Solar Photovoltaic ( PV ) Power Supply Systems | Identical |
| IEC 60529:1989, Degrees of protection provided by enclosures (IP Code) | IS/IEC 60529 : 2001 Degrees of protection provided by enclosures (IP Code) | Identical |
| IEC 60664-1:2020, Insulation coordination for equipment within low-voltage systems – Part 1: Principles, requirements and tests | IS 15382 (Part 1) : 2022/ IEC 60664-1:2020 Insulation Coordination for Equipment Within Low-Voltage Systems Part 1 Principles Requirements and Tests | Identical |
| IEC 60664-3:2016, Insulation coordination for equipment within low-voltage systems – Part 3: Use of coating, potting or moulding for protection against pollution | IS 15382 (Part 3) : 2019/ IEC 60664-3 : 2006 Insulation coordination for equipment within low-voltage systems : Part 3 use of coating potting or moulding for protection against pollution | Identical |
| IEC 60664-4:2005, Insulation coordination for equipment within low-voltage systems – Part 4: Consideration of high-frequency voltage stress | IS 15382 (Part 4) : 2017/ IEC 60664-4 : 2005 Insulation Coordination for Equipment Within Low-voltage Systems Part 4 Consideration of High-frequency Voltage Stress (First Revision) | Identical |
| IEC 60695-2-10:2021, Fire hazard testing – Part 2-10: Glowing/hot-wire based test methods – Glow-wire apparatus and common test procedure | IS/IEC 60695-2-10) : 2021 Fire hazard testing Part 2: Glowinghot-wire based test methods Section 10: Glow-wire apparatus and common test procedure | Identical |
| IEC 60695-2-11:2021, Fire hazard testing – Part 2-11: Glowing/hot-wire based test methods – Glow-wire flammability test method for end-products (GWEPT) | IS/IEC 60695-2-11) : 2021 Fire Hazard Testing Part 2: Glowinghot-wire based test methods Section 11: Glow-wire flammability test method for end products GWEPT | Identical |
| IEC 60695-2-13:2021, Fire hazard testing – Part 2-13: Glowing/hot-wire based test methods – Glow-wire ignition temperature (GWIT) test method for materials | IS/IEC 60695-2-13) : 2021 Fire Hazard Testing Part 2 GlowingHot wire based test methods Section 13 Glow-wire ignition temperature GWIT test method for materials | Identical |
| IEC 60695-10-2:2014, Fire hazard testing – Part 10-2: Abnormal heat – Ball pressure test method | IS/IEC 60695-10-2 : 2014 Fire hazard testing: Part 10 Abnormal heat: Sec 2 ball pressure test method | Identical |
| IEC 60695-11-10:2013, Fire hazard testing – Part 11-10: Test flames – 50 W horizontal and vertical flame test methods | IS/IEC 60695-11-10 : 2013 Fire hazard testing: Part 11 test flames :: Sec 10 50 w horizontal and vertical flame test methods | Identical |
| IEC 60721-3-3:1994, Classification of environmental conditions – Part 3: Classification of groups of environmental parameters and their severities – Section 3: Stationary use at weather protected locations | IS/IEC 60721-3-3) : 2019 Classification of Environmental Conditions Part 3 Classification of groups of environmental parameters and their severities Section 3 Stationary use at weatherprotected locations | Identical |
| IEC 60721-3-4:2019, Classification of environmental conditions – Part 3: Classification of groups of environmental parameters and their severities – Section 4: Stationary use at nonweather protected locations | IS/IEC 60721-3-4) : 2019 Classification of Environmental Conditions Part 3 Classification of groups of environmental parameters and their severities Section 4 Stationary use at non- weatherprotected locations | Identical |
| IEC 60730-1:2013, Automatic electrical controls – Part 1: General requirements | IS/IEC 60730-1 : 1999 Automatic electrical controls for household and similar use : part 1 General Requirements | Identical |
| IEC 60947-4-1:2018, Low-voltage switchgear and controlgear – Part 4-1: Contactors and motorstarters – Electromechanical contactors and motor-starters | IS/IEC 60947-4-1 : 2018 Low-Voltage switchgear and controlgear : Part 4-1 Contactors and motor starters electromechanical contactors and motor-Starters | Identical |
| IEC 60990:2016, Methods of measurement of touch current and protective conductor current | IS/IEC 60990 : 2016 Methods of measurement of touch current and protective conductor current *(First Revision)* | Identical |
| IEC 61032:1997, Protection of persons and equipment by enclosures – Probes for verification | IS 1401 : 2008/ IEC 61032 : 1997 Protection of persons and equipment by enclosures - Probes for verification *(Second Revision)* | Identical |
| IEC 61084 (all parts), Cable trunking systems and cable ducting systems for electrical installations | IS 14927 (Part 1) : 2023/ IEC 61084-1 : 2017 Cable Trunking Systems and Cable Ducting Systems for Electrical Installations Part 1: General Requirements *(First Revision)* | Identical |
| IS 14927 (Part 2/Sec 1) : 2001/ IEC 61084-2-1 : 2017 Cable Trunking and Ducting Systems for Electrical Installations : Part 2 Cable Trunking and Ducting Systems Intended for Mounting on Walls or Ceiling | Identical |
| IEC 61180:2016, High-voltage test techniques for low-voltage equipment – Definitions, test and procedure requirements, test equipment | IS 16826 : 2018/ IEC 61180 : 2016 High - Voltage Test Techniques For Low-Voltage Equipment - Definitions, Test and Procedure Requirements, Test Equipment | Identical |
| IEC 61189-3:2007, Test methods for electrical materials, printed boards and other interconnection structures and assemblies – Part 3: Test methods for interconnection structures (printed boards) | IS/IEC 61189-3 : 2007 Test methods for electrical materials printed boards and other interconnection structures and assemblies Part 3 Test methods for interconnection structures printed boards | Identical |
| IEC 61230:2008, Live working – Portable equipment for earthing or earthing and short-circuiting | IS 16624 : 2017/ IEC 61230 : 2008 Live working - Portable equipment for earthing or earthing and short - Circuiting | Identical |
| IEC 61386 (all parts), Conduit systems for cable management | IS 16205 (Part 1) : 2017/ IEC 61386-1 : 2008 Conduit systems for cable management: Part 1 general requirements | Technically Equivalent |
| IS 3480 : 2024/ IEC 61386-1 : 2008 Flexible steel conduits for electrical wiring-specification *(First Revision)* | Technically Equivalent |
| IEC 61558-1:2017, Safety of power transformers, reactors, power supply units and combinations thereof – Part 1: General requirements and tests | IS/IEC 61558-1 : 2017 Safety of Transformers, Reactors, Power Supply Units and Combinations Thereof Part 1 General Requirements and *Tests (First Revision )* | Identical |
| IEC 62109-1:2010, Safety of power converters for use in photovoltaic power systems – Part 1: General requirements | IS 16221 (Part 1) : 2016/ IEC 62109-1 : 2010 Safety of Power Converters for use in Photovoltaic Power Systems Part 1 General Requirements | Identical |
| IEC 62271-102:2018, High-voltage switchgear and controlgear – Part 102: Alternating current disconnectors and earthing switches | IS/IEC 62271-102 : 2018 High-Voltage Switchgear and Controlgear Part 102 Alternating Current Disconnectors And Earthing Switches | Identical |
| ISO 3864-1:2011, Graphical symbols – Safety colours and safety signs – Part 1: Design principles for safety signs and safety markings | IS 16449 (Part 1) : 2018/ ISO 3864-1 : 2011 Graphical symbols - Safety colours and safety signs: Part 1 design principles for safety signs and safety markings | Identical |
| ISO 7000, Graphical symbols for use on equipment | IS 16450 : 2023/ ISO 7000 : 2019 Graphical Symbols for Use on Equipment Registered Symbols | Identical |

The technical committee has reviewed the provision of the following International Standard referred in this adopted standard and has decided that it is acceptable for use in conjunction with this standard:

|  |  |
| --- | --- |
| *International Standard* | *Title* |
| IEC 60050-112 | International Electrotechnical Vocabulary (IEV) – Part 112: Quantities and units |
| IEC 60050-442 | International Electrotechnical Vocabulary (IEV) – Part 442: Electrical accessories |
| IEC 60050-826 | International Electrotechnical Vocabulary (IEV) – Part 826: Electrical installations |
| IEC 60050-903 | International Electrotechnical Vocabulary (IEV) – Part 903: Risk assessment |
| IEC 60068-2-52:2017 | Environmental testing – Part 2-52: Tests – Test Kb: Salt mist, cyclic (sodium chloride solution) |
| IEC 60364-4-41:2005 | Low-voltage electrical installations – Part 4-41: Protection for safety – Protection against electric shock |
| IEC 60364-5-54:2011 | Low-voltage electrical installations – Part 5-54: Selection and erection of electrical equipment – Earthing arrangements and protective conductors |
| IEC 60417 | Graphical symbols for use on equipment |
| IEC 60617 | Graphical symbols for diagrams |
| IEC 60695-11-20:2015 | Fire hazard testing – Part 11-20: Test flames – 500 W flame test method |
| IEC 60755:2017 | General safety requirements for residual current operated protective devices |
| IEC 60799:2018 | Electrical accessories – Cord sets and interconnection cord sets |
| IEC 62477-1:2022 | Safety requirements for power electronic converter systems and equipment – Part 1: General |
| IEC 62477-2:2018 | Safety requirements for power electronic converter systems and equipment – Part 2: Power electronic converters from 1 000 V AC or 1 500 V DC up to 36 kV AC or 54 kV DC |
| ISO 3746:2010 | Acoustics – Determination of sound power levels and sound energy levels of noise sources using sound pressure – Survey method using an enveloping measurement surface over a reflecting plane |
| ISO 9614-1:1993 | Acoustics – Determination of sound power levels of noise sources using sound intensity – Part 1: Measurement at discrete points |

Only English language text has been retained while adopting it in this Indian Standard, and as such the page numbers given here are not the same as in the International Standard.

For the purpose of deciding whether a particular requirement of this standard is complied with, the final value, observed or calculated expressing the result of a test, shall be rounded off in accordance with IS 2: 2022 ‘Rules for rounding off numerical values (*second revision*)’. The number of significant places retained in the rounded off value should be the same as that of the specified value in this standard.