***भारतीय मानक***

***Indian Standard***

**Doc. No. : PGD 39 (22132)**

**IS 14965 : 2024**

**ISO 12005 : 2022**

लेजर एवं लेजर संबंधित उपकरण — लेजर बीम मापदंडो के परीक्षण की पद्धतियाँ — ध्रुवीकरण

( ***दूसरा पुनरीक्षण*** )

**Lasers and Laser-related Equipment — Test Methods for Laser Beam Parameters — Polarization**

( *Second Revision* )

ICS 31.260

© BIS 2024

भारतीय मानक ब्यूरो

BUREAU OF INDIAN STANDARDS

मानक भवन, 9 बहादुर शाह ज़फर मार्ग, नई दिल्ली - 110002

MANAK BHAVAN, 9 BAHADUR SHAH ZAFAR MARG

NEW DELHI - 110002

[www.bis.gov.in](http://www.bis.org.in) [www.standardsbis.in](http://www.standardsbis.in)

**March 2024 Price Group**

Optics and Photonics sectional committee, PGD 39

NATIONAL FOREWORD

This Indian Standard (Second Revision) which is identical with ISO 12005 : 2022 ‘Lasers and Laser-related Equipment — Test Methods for Laser Beam Parameters — Polarization’ issued by the International Organization for Standardization (ISO) was adopted by the Bureau of Indian Standards on the recommendation of the Optics and Photonics Sectional Committee and approval of the Production and General Engineering Division Council.

This document specifies a method, which is a relatively quick and simple method with minimum equipment, for determining the polarization status and, whenever possible, the degree of polarization of the beam from a continuous wave (cw) laser. It can also be applied to repetitively pulsed lasers, if their electric field vector orientation does not change from pulse to pulse.

# This standard was originally published as 2001 and subsequently revised in 2017. First revision was based on ISO 12005 : 2003 ‘Lasers and laser-related equipment — Test methods for laser beam parameters — Polarization’ issued by the International Organization for Standardization (ISO). This revision of this standard has been undertaken to align it with the latest version of ISO 12005. The major changes in this revision are as follows:

1. Description errors in **4.5** (analysis of the results) have been corrected;
2. Definitions of the “degree of polarization” and the “degree of linear polarization” have been made clear;
3. Definition of extinction ratio has been changed; and
4. **3.3** (direction of polarization), **3.4** (plane of polarization), and **3.5** (ellipticity) have been deleted because these terms are confusing due to the different definitions, and they are not necessarily required for this standard. **3.11** (Stokes parameters) has been deleted and moved to Annex A because it is not used in the measurement and analysis.

The text of ISO Standard has been approved as suitable for publication as an Indian Standard without deviations. Certain terminology and conventions are however not identical to those used in Indian Standards Attention is particularly drawn to the following:

1. Wherever the words ‘International Standard’ appear referring to this standard, they should be read as ‘Indian Standard’.
2. Comma (,) has been used as decimal marker while in Indian Standards, the current practice is to use a full point (.) as the decimal marker.

In this adopted standard, references appear to certain International Standards for which Indian Standards also exist. The corresponding Indian Standards, which are to be substituted in their respective places, are listed below along with their degree of equivalence for the editions indicated

.

|  |  |  |
| --- | --- | --- |
| *International Standard* | *Corresponding Indian Standard* | *Degree of Equivalence* |
| ISO 11145 Optics and photonics — Lasers and laser-related equipment — Vocabulary and symbols | IS/ISO 11145 : 2018 Optics and optical instruments — Lasers and laser - related equipment — Vocabulary and symbols | Identical |
| ISO 11554 Optics and photonics — Lasers and laser-related equipment — Test methods for laser beam power, energy and temporal characteristics | IS 14963 : 2023/ISO 11554 : 2017 Optics and optical instruments - Lasers and laser -related equipment — Test methods for laser beam power, energy and temporal characteristics | Identical |

The technical committee has reviewed the provisions of the following International Standard referred in this adopted standard and has decided that it is acceptable for use in conjunction with this standard:

|  |  |
| --- | --- |
| *International Standard* | *Title* |
| CIE 059 : 1984 | Definitions and Nomenclature, Instrument Polarization |

For the purpose of deciding whether a particular requirement of this standard is complied with, the final value, observed or calculated expressing the result of a test or analysis, shall be rounded off in accordance with IS 2 : 2022 ‘Rules for rounding off numerical values (second revision)’.